## 44(21) - C&I heat pump
Product application for product category - 44(21) Commercial and industrial heat pump water heater
Version 1.0 - 3 June 2025
WHAT TO ATTACH - Product category 44(21) Commercial and industrial heat pump water heater:
Your application must be supported by documentary evidence which demonstrates that the product(s) meets the product requirements as set out in the Victorian Energy Efficiency Target Regulations 2018 (the VEET Regulations) and the Victorian Energy Upgrades Specifications 2018 (the VEU specifications).
The product requirements and documentation requirements for these products are detailed in the Commercial and Industrial Heat Pump Water Heater Product Application Guide available from | [8 empty] | our website
A maximum of 8 products can be applied for as part of a single product application.
Before submitting your application, please ensure you have attached the following (use zip files if necessary):
1 | Completed Commercial Industrial Heat Pump Water Heater Application Form
2 | Test reports, product specifications and other relevant documentation as outlined in the the Commercial Industrial Heat Pump Water Heater Product Application Guide
3 | TRNSYS models and files
Enter any relevant details in the 'Notes' field below.
Yellow fields are mandatory fields for all products
No. | Brand | Model | Zone 4 Annual Energy Savings (%) | Zone 4 Peak Load (MJ/day) | Zone 4 HPgas (GJ/year) | Zone 4 HPelec (GJ/year) | Zone 5 Annual Energy Savings (%) | Zone 5 Peak Load (MJ/day) | Zone 5 HPgas (GJ/year) | Zone 5 HPelec (GJ/year) | Number Of Tanks | Pre-Heat Tank Model Number(s) | Finishing Tank Model Number(s) | Pre-Heat Tank Volume (L) | Finishing Tank Volume (L) | Total System Tank Volume (L) | Number of Heat Pumps | Heat Pump Model Number(s) | Total Heat Pump Thermal Capacity (kW) | System Booster Type | Booster Model Number | Total Thermal Capacity (kW) | System Type | AS/NZS 2712 Certificate Expiry | Refrigerant Type (GWP) | Refrigerant Charge (kg)
Limit |  |  | 60 to 100 inclusive | 1 to 20000 inclusive | 0 to 2500 inclusive | 0 to 2500 inclusive | 60 to 100 inclusive | 1 to 20000 inclusive | 0 to 2500 inclusive | 0 to 2500 inclusive | 0 to 10 inclusive |  |  | 0 to 50000 inclusive | 0 to 50000 inclusive | 0 to 100000 inclusive | 0 to 10 inclusive |  | 0 to 1000 inclusive | Select from drop down list |  | 0 to 1000 inclusive | Select from drop down list | Must be future date inclusive |  | 0 to 10000 inclusive
1 | [26 empty] | In-Line Electric Boosted | Intergrated | R-1234yf
2 | [26 empty] | In-Line Gas Boosted | Non-Intergrated | R-1234ze(E)
3 | [26 empty] | In-Tank Electric Boosted |  | R-125
4 | [26 empty] | No Booster |  | R-1270
5 | [28 empty] | R-12A
6 | [28 empty] | R-134A
7 | [28 empty] | R-143A
8 | [28 empty] | R-152A
R-170
Notes: | [28 empty] | R-227EA
R-22A
R-23
R-236CB
R-236EA
R-236FA
R-245CA
R-245FA
R-290
R-32
R-365MFC
R-404A
R-407A
R-407B
R-407C
R-407D
R-407E
R-407F
R-407G
R-41
R-410A
R-410B
R-413A
R-417A
R-417B
R-417C
R-419A
R-419B
R-421A
R-421B
R-422A
R-422B
R-422C
R-422D
R-422E
R-423A
R-424A
R-425A
R-426A
R-427A
R-428A
R-429A
R-430A
R-43-10MEE
R-431A
R-434A
R-435A
R-437A
R-438A
R-439A
R-440A
R-442A
R-444A
R-444B
R-445A
R-446A
R-447A
R-447B
R-448A
R-449A
R-449B
R-449C
R-450A
R-451A
R-451B
R-452A
R-452B
R-452C
R-453A
R-454A
R-454B
R-454C
R-455A
R-456A
R-457A
R-458A
R-500
R-502A
R-503
R-507A
R-508A
R-508B
R-512A
R-513A
R-513B
R-515A
R-600
R-600a
R-601A
R-717
R-744
Note on E19: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: @Kristine McNabb (ESC) can you please confirm whether limits set out in this document need to be updated. Please update limits set out here. Reply: I will have a look later today. Zoe is going to check this template using the data from one of the largest systems we have had apply previously.

## Version control
Document version control
CM reference for this document is: |  | C/25/12703
Version | Updates made | Date published
1 | First release | 2025-06-03