## Submissions
Consultation on guidance and administrative requirements for new commercial and industrial solar photovoltaic (PV) system activity Feedback submitted via online form
No. | Organisation | 1. Do you support the proposed training and competency requirements for solar system designers involved in this activity? | 2. If you selected “No” to Question 1, please explain why the proposed solar system designer requirements may not align with current industry practices and suggest alternate designer requirements. | 3. Do you agree with the proposed training and competency requirements for solar system installers involved in this activity? | 4. If you selected “No” to Question 3, please explain why the proposed solar installer system requirements may not align with current industry practices and suggest alternate installer requirements. | 5. Do you support the proposed record-keeping requirements for this activity? | 6. If you answered “No” to Question 5, please specify which record requirement(s) you have concerns with and explain why. | 7. Do you have suggestions for alternate record-keeping requirements that would better support compliance with the activity requirements? Please list them if you do. | 8. Should the record-keeping requirements for validating systems differ based on system size (i.e., less than 100 kW vs. greater than 100 kW)? | 9. If you answered “Yes” to Question 8, please specify what different record-keeping requirements you believe should be set based on system size. | 10. Do you support the proposed VEEC assignment form information requirements for this activity (see appendix A of the consultation document)? | 11. If you answered “No” to Question 10, please outline what aspects of the proposed VEEC assignment form you believe should be amended. | 12. Do you support the proposed matter the commission may have regard to in assessing whether an applicant is competent and capable to deliver the C&I solar activity? (Note: We have marked answers here as N/A where the answer provided by respondent in Q13 makes clear respondent is either seeking clarification on criteria or providing feedback on the criteria set under the activity’s streamlined accreditation pathway which is not relevant to matter being consulted on in this question) | 13. If you answered “No” to Question 12, please specify which criteria you disagree with and explain why. | 14. Do you have any suggestions for alternative accreditation conditions you believe should be introduced for businesses participating in this activity to further strengthen compliance, quality assurance, and program integrity? Please list them if you do. | 15. Do you support the inclusion of a C&I solar activity accreditation condition requiring an accredited person to undertake a quality assurance review of an activity prior to VEEC creation as a practical and effective measure to support compliance and program integrity? | 16. If you answered “Yes” to Question 15, who do you believe should be responsible for conducting the quality assurance review (i.e. what skills or qualifications should the person hold)? What sort of checks should be included in the quality assurance review? | 17. If you answered “No” to Question 15, please explain why. | 18. Do you have any suggestions for alternative accreditation conditions you believe should be introduced for businesses participating in this activity to further strengthen compliance, quality assurance, and program integrity? Please list them if you do. | 19. Do you have any feedback on this activity that is not addressed in the previous questions?
1 | Devam Solar | Yes |  | Yes |  | Yes |  |  | No |  | Yes |  | N/A | We believe the curent method of assessing application is strong and meaningful. However, it should be made easy to Join C&I Solar activity for new applicatns who are already long established and doing C&I solar for more than 3 years. As, they do have long experience and managed C&I projects. Current process of assessing application may be lengthy and time consuming for them. | NO | Yes | Person who holds knowledge and experience in technical and sales part of any C&I projects can do quality checks of all the aspects. Quality aausrance should including some key factors such as...Technical explanation of the system, Production and financial benefits explanation, After sales and after installation support, Professionalism of the person or Company. Product knowledge provided to the cutomers, Warranties provided. |  | No
2 | 4EVA Energy | No | Should be no additional requirements to what is already best practice and/or legal requirement for STC versus LGC systems. | No | Should be no additional requirements to what is already best practice and/or legal requirement for STC versus LGC systems. | No | Should be no additional requirements to what is already best practice and/or legal requirement for STC versus LGC systems. | STC requirements to also apply to VEEC systems >100kW. | No |  | Yes |  | N/A | We would appreciate clarification on one point: the application form asks whether we have employees or contractors who are Professional Engineers registered with the Building Licensing Authority (BLA). We have reviewed the VEU regulations and specifications for Part 47 but could not identify an explicit requirement for BLA-registered engineers in relation to VEEC creation under this activity. Our understanding is that BLA registration is generally required for certain structural or greenfield construction projects, whereas rooftop solar installations typically do not require sign-off by a BLA engineer unless structural modifications are involved. | AP should be set up with STC creation capabilities, software etc or it will be very cumbersome for installers to have to duplicate all evidence and information in two systems for VEEC + STC systems. | No |  | STC requirements should apply also to 100-200 kW systems, otherwise do not duplicate QA already in place for STC systems, that would be madness. Work with CER if you see improvements that could be done to the STC QA process. | The STC process and accompanying quality and compliance assurance is an extremely successful scheme - lets just build on that where improvements are identified, but let's not reinvent the wheel with an additional layer of compliance and QA. This only adds cost and results in the end consumer getting less VEEC rebate. | We acknowledge the ESC’s intent to bring the new C&I Solar activity to market quickly and to ensure a high standard of compliance from the outset. However, the eligibility criteria proposed for the “streamlined” pathway appear misaligned with the objectives of both speed and market readiness. The criteria currently limit access to a very small number of existing PBA Accredited Persons — those who have completed at least four M&V-based solar projects. While these entities have experience with data analysis and VEEC creation under the PBA method, most have limited or no in-house installation capability, limited experience with STC creation processes, and minimal connection to the broader installer network that will be critical to the rollout of this activity. In contrast, many installer-led APs already operate sophisticated STC compliance systems and digital platforms that capture identical evidence and verification data. For these participants, adding VEEC creation into existing STC workflows could be achieved almost immediately, delivering the Commission’s stated goal of rapid market entry far more effectively. We encourage the ESC to consider an accreditation pathway that recognises this existing infrastructure and experience with solar installation, electrical compliance, and STC evidence management. Doing so would support both competitive neutrality and timely implementation, without compromising compliance or quality outcomes.
3 | Energy Makeovers | Yes |  | Yes |  | No | DNSPs do not provide information regarding feed in tariffs. This is an energy retailer matter. DNSP can confirm that commissioning documentation and backstop requirements are met. At this point the DNSP will advise the retailer that the meter is to be reconfigured for a solar feed in tariff where applicable. Feed in tariffs are negotiated between the customer and their retailer. |  | No |  | Yes |  | N/A | Currently an AP is required to have completed a minimum of four solar installations under the Measurement and Verification (M&V) method within the VEU Project Based Activities (PBA) stream. Energy Makeovers have completed a very large volume of commercial solar installations over the last 16 years but have only claimed VEECs under the M&V method of the PBA stream for one project. We submit that the requirement to have completed 4 projects under PBA is arbitrary and does not recognize the significant expertise and reputation Energy Makeovers has established in its long and successful history of completing commercial solar projects. | Energy Makeovers believe the proposed accreditation conditions are sensible except for the arbitrary requirement to have completed 4 solar projects under the PBA stream. | No |  | Quality Assurance is built into the existing qualification and accreditation framework administered by the CER. Energy Makeovers believe the proposed training and competency requirements for solar system designers and installers is sufficient to provide an adequate level of quality assurance. | No | No
4 | Evelyn Consulting Pty Ltd | Yes |  | Yes |  | Yes |  |  | No |  | Yes |  | No | I believe a two-year restriction for new installers is excessive. A shorter period of six months to one year would be more reasonable and inclusive. | For those who are not able to make the 2 year specifications requirement. A Quarterly Compliance Reporting. Require submission of quarterly compliance and audit reports outlining sampling methods, non-conformances, and corrective actions, even when no activities are undertaken. | No |  | For High Risk APs. A Quarterly Compliance Reporting. Require submission of quarterly compliance and audit reports outlining sampling methods, non-conformances, and corrective actions, even when no activities are undertaken. | Quality Assurance Framework (QAF) – Mandatory Each AP must maintain a documented Quality Assurance Framework aligned with ISO 9001:2015 and ISO 19011:2018. This should outline key processes for design validation, installation supervision, commissioning, documentation control, and internal auditing. | Quality Assurance Framework (QAF) – Mandatory Each AP must maintain a documented Quality Assurance Framework aligned with ISO 9001:2015 and ISO 19011:2018. This should outline key processes for design validation, installation supervision, commissioning, documentation control, and internal auditing.
5 | Creditex | Yes |  | Yes |  | Yes |  |  | Yes | <100 kW: streamlined evidence (assignment form, invoices, monitoring proof, designer/installer declarations, geo-tagged photos...). ≥100 kW: full evidence suite (monitoring video/report, SLD, DNSP approval). | Yes |  | No | We slightly disagree with the proposed criteria because they appear to place too much emphasis on the applicant’s direct experience in delivering solar installations. As an accredited AP, Creditex operates under an aggregation model, where we work in partnership with qualified and experienced installation companies who hold the relevant solar, electrical, and design accreditations. While Creditex itself does not employ solar installers directly, we maintain strict partner management, compliance, and audit frameworks to ensure that all activities are delivered in accordance with scheme rules and technical standards. Therefore, competence should be assessed based on the applicant’s overall capability to manage, oversee, and ensure compliant delivery through qualified partners, not solely on direct installation experience. | Competence should be assessed based on the applicant’s overall capability to manage, oversee, and ensure compliant delivery through qualified partners, not solely on direct installation experience. | Yes | The quality assurance review should be undertaken by the AP’s internal Compliance and QA teams, who are responsible for ensuring all program and technical compliance requirements have been met prior to VEEC creation. These staff should have strong knowledge of VEU regulations, activity-specific requirements, and relevant Australian Standards The review should include checks on documentation completeness, installer licensing and accreditation, product eligibility, evidence quality (including photos and customer declarations), and overall data consistency according to activity guidelines. This process ensures the activity meets both technical and administrative compliance standards before submission.
6 | KUGA Australia | Yes |  | Yes |  | Yes |  |  | No |  | Yes |  | N/A | There is a condition set that an accredited person requires to have at least 4 completed PBA activities. We find this one unfair. In our case where we mainly focus with VEEC activity 34 and 44 for the past years and was able to create only 1 PBA under our accreditation and another PBA that was created through an aggregator. We should be given an opportunity to participate with the new Solar VEEC activity. Our competency and capability must be assessed and measured according to our installation history and feedback from our previous and existing customers. We have participated in STC and assisted our customers in claiming LGC for sufficient years now and have always complied according to commissions rules and procedures. | Kindly consider our record for participating in other VEEC related activities as VEU sets a high standard on compliance for all types of VEEC activities which will confirm competency and capability of participating accredited person. | Yes | An accredited person must be responsible and accountable for assuring that thorough review and validation are met according to set rules and compliance by the commission. VEU can prepare a video or documentation covering the details and list to comply for quality assurance. Then trainees or takers must complete an online assessment to validate their knowledge and preparedness to perform the duty with diligence. |  | Duplicate answer with Q#18 | Over-all, we are grateful with the efforts of the commission providing and opening more opportunities not just for accredited persons but also for the consumer who'll benefit with this. Thank you to VEU Team and more power!
7 | Green Energy Trading | Yes |  | Yes |  | No | Green Energy Trading believes the record-keeping requirements should be harmonised as closely as possible with those under the Renewable Energy Target (RET) as doing so will ensure an easy transition to this new activity for both accredited persons and scheme participants. Broadly what has been proposed by the ESC already achieves harmony with the RET with the exception of the following: (1) RET does not require installer photos to show the installer ID in each photo; (2) the RET only allows 1x installer to sign-off on the job which simplifies the requirement to provide installer "selfies". Indeed, under the RET multiple installers can only sign-off when the lead installer changes and this requires special permission from the Clean Energy Regulator (CER); (3) we think it would be much easier and less onerous on both accredited persons and the ESC if the proposal for a video of the monitoring system was scrapped and only a PDF of the output from the monitoring system was required; (4) Finally, as participation in the Solar Panel Validation Initiative (SPVI) is not mandatory for manufacturers or accredited persons under the RET we believe it should not be mandatory under Activity 47 and that this activity should refer to the CEC Approved Product list instead. | As per the above, Green Energy Trading believe record keeping requirements under Activity 47 are harmonised with the RET as closely as possible. | Yes |  | No | As per the above, as participation in the SPVI is not mandatory for manufacturers or APs under the RET, APs should not be required to declare the solar modules installed are part of the SPVI. | Yes |  |  | Yes | Green Energy Trading believes any proposed quality assurance checks imposed under the VEU should be harmonised with those required under the RET.
8 | Electric Future Sustainability Services | Yes | N/A | No | agreed to SAA licenses but SAA registration already required working at heights and licensed electrician for SAA Solar installer so they should not be required separately | No | • The requirement for “written advice from the relevant DNSP regarding applicable feed-in tariffs and any export constraints” in customer quotes is not standard practice for systems under 100 kW. This should remain a requirement only for LGC-related jobs as currently applied. • The proposed requirement for selfies of all installers deviates from the Clean Energy Regulator (CER) process and adds unnecessary administrative burden. We recommend aligning this with the CER approach, requiring only a selfie of the supervising installer. • Given that battery installations are not part of this activity, the requirement to collect battery nameplate or serial number details is unnecessary and should be removed. • For monitoring system installation evidence, video files may present significant size and upload challenges across compliance platforms. We suggest allowing a combination of reports and screenshots that can be cross-referenced to achieve the same verification purpose. • The single-line diagram (SLD) requirement should align with existing CER practice, which applies only to LGC claims. Extending this to installations below 100 kW introduces avoidable cost and administrative burden that will ultimately reduce consumer rebates. The SLD should be required only for systems above 200 kW, consistent with other national frameworks | as above | Yes | Record-keeping evidence requirements should be fully aligned with CER standards for both system sizes. This includes applying the single-line diagram requirement only to systems above 100 kW to maintain national consistency and reduce unnecessary duplication. | No | Given that this activity can be completed under aggregation model, the declaration section should be updated from “Accredited Person declaration” to “Accredited Person and/or Installation Company declaration” to accurately reflect operational responsibilities and industry practice. | No | Requiring prior experience in the solar industry as a condition of accreditation may not be the most effective measure of quality assurance. Accredited Providers (APs) continually build expertise through partnerships with qualified solar companies. Therefore, demonstrated experience should not be mandatory as long as the AP has a contractual arrangement with a solar company whose employees hold Solar Accreditation Australia (SAA) accreditation for Grid-Connected PV Design and Installation. | We recommend updating the requirement to allow evidence of contractual arrangements with qualified solar companies as an alternative to the two-year industry experience condition. This approach recognises the role of collaboration between APs and specialised solar businesses in maintaining compliance and quality standards. | Yes | We suggest the internal quality assurance should be completed by a person trained by a solar design and install SAA licence rather holding any relevant qualifications. Having a qualified person to complete the QA will not add any different will add an unnecessary cost to the process which will have negative outcome to the customer. | N/A | No | While we agree that a fast-track application process is appropriate for APs with existing PBA accreditation, we believe that, given this activity is now classified as a separate deemed activity, the VEU should have accepted applications from all applicants at the same time.
9 | Origin Energy | Yes |  | Yes | [15 empty] | The 2-year experience requirement for installers requires further consideration.
10 | Formbay | Yes |  | Yes |  | Yes | Formbay agrees in principle with the Commission's proposed record-keeping requirements for the C&l Solar PV System activity, as we support the objectives of ensuring auditability, traceability, and consumer confidence. However, we recommend several clarifications and modifications to make the requirements clearer, more practical, and aligned with standard industry practices. 5.7 Consumer Quote, Design and Performance Information While we agree that a record of the system specification and design details must be maintained, the current requirement for the "consumer quote and site-specific design and performance information" is too broad and creates uncertainty. We propose the following refinements: Require the accredited person to provide full system specifications, including: quantity, make, and model of each system component (modules, inverters, meters, batteries if applicable); and o system size (kW/kVA) and connection type. Remove or simplify other sub-items under this category, as the consumer quote does not represent the final contractual agreement, and performance data cannot be confirmed until after installation and commissioning. Instead, require the as-built Single Line Diagram (SLD) and installation verification records to serve as the authoritative post-installation reference for performance and design compliance. This approach reduces redundancy and ensures the record-keeping reflects verified system information, not preliminary estimates. 5.2 Installer Photo Evidence We support the inclusion of photographic evidence of the installation process but recommend that the three-stage "selfie" requirement (pre-, mid-, and post-installation) apply only to the lead installer. This aligns with existing Clean Energy Regulator and Solar Accreditation Australia practices, where the lead installer takes responsibility for supervision, compliance, and sign-off. Applying this requirement to every individual on site is impractical and administratively burdensome. 5.3 Monitoring System Verification The proposed record-keeping requirement for a video or report output from the monitoring portal raises timing and feasibility concerns: For many projects, monitoring data or report OUtPUtS may not be available for the 3 rd party to obtain for several months after commissioning. Systems may also be temporarily offline, awaiting DNSP approvals, or undergoing earlystage maintenance. To address these issues, we propose the following: Remove the requirement for a live video or formal report output immediately postinstallation. Require instead geo-tagged photos of the installed smart meter or monitoring device, showing brand, model, and serial number, as evidence that monitoring capability exists on site. Allow optional submission of sampled monthly performance reports (once available) to demonstrate that monitoring is functional, without making this a mandatory precondition for VEEC creation. This approach ensures the program retains verifiable evidence of system capability while aligning with realistic project timelines and commissioning processes. |  | yes | Formbay supports having differentiated evidence requirements based on system size, as this ensures that compliance obligations are proportional to project complexity and administrative effort. For systems less than 7 00 1<VV We recommend a simplified, practical evidence package consisting of: • Clear, geo-tagged photographs showing: • brand, model of the installed solar panels, inverters, and smart meter and smart meter photo should clearly show it's serial number; • wide-angle photos of the full installed array to demonstrate system completion and scale; and • A copy of the electrical Certificate of Compliance (CoES). Together, these items provide verifiable, auditable evidence that the installation is legitimate, safely commissioned, and compliant with VEU activity requirements. These records should be submitted with the VEEC Assignment Form to confirm the activity and associated equipment details. For systems greater than 7 00 1<VV Given the higher capacity and complexity of these systems, we recommend maintaining more detailed evidence standard, including: • An as-built Single Line Diagram (SLD) confirming final system design, configuration, and component details; and • A copy of the Distribution Network Service Provider (DNSP) connection or negotiated contract, confirming the authorised capacity and system commissioning date. This higher level of documentation ensures integrity for large-scale systems while remaining aligned with existing DNSP and engineering sign-off requirements, avoiding duplication of administrative tasks. Rationale This tiered approach: • Reduces administrative burden for smaller projects without compromising verification or safety; • Focuses more rigorous verification where it provides the greatest benefit; and • Aligns with existing regulatory and industry practices under schemes such as the Smallscale Renewable Energy Scheme (SRES) and Large-scale Generation Certificate (LGC) processes. | Yes | However, we recommend a minor but important modification regarding the way panel serial numbers are recorded. For larger systems—particularly those above 30 kW—it is common to have hundreds of panels installed, each with a unique serial number. Under the current form design, the space allocated for serial number entry is insufficient to capture this information accurately or efficiently. To improve accuracy and efficiency, we propose: Allowing scanned photo evidence of panel serial numbers in place of manual entry. Most installer mobile apps in the market (including those integrated with Solar Panel Validation systems) now support barcode or serial number scanning, which automatically captures and timestamps serial data directly from panels. This method greatly reduces the risk of transcription errors, ensures complete serial number capture, and streamlines compliance submission. Providing additional space or a dedicated upload section in the assignment form for these scanned images or SPV-generated serial number lists. This approach would improve data quality, reduce administrative workload, and align with industry-standard digital validation tools already in widespread use. | Yes |  | However, we recommend that the Commission consider introducing a streamlined application process and shorter assessment timeframe for companies that can demonstrate proven competency and capability in administering large-scale solar compliance and certificate creation activities — even if they do not directly meet certain experience criteria, such as: direct experience in the management, design, or installation of commercialscale solar PV systems (30 — 200 k or prior experience managing or delivering solar upgrade projects under the Measurement and Verification (M&V) Method within the Project-Based Activities of the VEU Program. Formbay, for example, processes over 700 STC jobs daily and manages approximately 30% of the national small-scale solar compliance market. Our ISO 27001 -certified platform and long-standing record of audit compliance demonstrate that we possess the systems, controls, and data management capability necessary to effectively manage the C&l Solar PV activity under the VEU program. Recognising such demonstrated large-scale competency would allow the Commission to prioritise experienced, compliant market participants — enabling faster mobilisation of capable aggregators, avoiding unnecessary delays, and ensuring that Victorian consumers can access the benefits of the program in a timely manner. Formbay has been a leading provider of Solar Panel Validation services under Deed to the Clean Energy Regulator. Formbay provides validation for approximately 80-90% of PV installations under the SRES Scheme. We have provided this service to the industry as an "Industry Good" since 2017. Specifically, entities such as Formbay—who already manage a significant proportion of national solar certificate activity, maintain ISO 27001 -certified systems, and have demonstrated strong audit compliance history—should be eligible for an expedited assessment pathway. This would help the program mobilise experienced participants more efficiently, minimise administrative delays, and ensure consumers and businesses can access VEIJ incentives without unnecessary waiting periods. | Yes | For an accredited person that has demonstrated sufficient competency and capability, the quality assurance review should be managed through the standard Request for Information (REI) process — that is, by submitting all project-relevant documentation for Commission review as part of normal compliance verification. This approach maintains oversight and transparency without introducing unnecessary administrative delays. For new or inexperienced accredited persons—for example, those without prior experience managing commercial-scale solar PV projects or compliance programs—we recommend a higher frequency of RFI reviews during their initial projects. This would allow the Commission to assess their capability and compliance maturity over time before moving them to a standard review cycle. Formbay acknowledges and supports the Commission's objective of maintaining program integrity and installation quality through the proposed quality assurance review prior to the creation of certificates. However, we believe that this requirement should be applied proportionately, based on each applicant's demonstrated competency, compliance systems, and operational experience. For applicants that have already demonstrated strong capability and a proven track record in large-scale compliance administration—such as managing certificate creation under other renewable energy schemes or operating within accredited audit frameworks—imposing a mandatory quality assurance review for every project would create unnecessary delays. This could extend project delivery timelines and negatively impact the financial payback period for participating businesses. We therefore recommend that: Where an applicant has demonstrated sufficient competency and capability, the quality assurance review should be standard once every two years for each accreditation. For new or inexperienced accredited persons—for example, those without prior experience managing commercial-scale solar projects or large-scale compliance programs—a quality assurance review prior to certificate creation should apply to the first project. This would allow the Commission to confirm compliance and capability before granting full operational approval. This tiered approach provides a balanced outcome: it maintains the program's integrity and consumer protection objectives while ensuring capable, established participants can deliver projects efficiently and without undue administrative delay. |  | In addition to the existing mechanisms—such as the Request for Information (RFI) process and periodic third-party audits—we recommend that the Commission: Engage independent third-party auditors to conduct site inspections whenever deemed appropriate, either on a scheduled or random basis. These site audits would verify installation quality, system configuration, and component authenticity. O Allowing flexible scheduling ensures the Commission can target higher-risk or randomly selected projects without advance notice, strengthening compliance assurance. Request sample generation reports from accredited persons or aggregators to confirm that installed systems are performing as expected and consistent with declared capacities. Sampling can be risk-based, focusing on outliers or newly accredited participants rather than applying universally. For projects selected for site inspection or performance review, we recommend that the Commission reserve the right to withhold VEEC approval until the required data or reports have been provided and satisfactorily verified. This mechanism would create a clear incentive for installers and accredited persons to supply complete, timely evidence and maintain ongoing engagement with the Commission's compliance processes.
11 | Master Electricians Australia | Yes | N/A | N/A | N/A | N/A | MEA urges the VEIJ administrative requirements to be interoperable with ESV's reporting requirements of electrical contractors to enable maximum data and information sharing through Certificate of Electrical Safety (COES) systems via API integration. This approach would reduce duplication of information already captured under the COES, minimising administrative burden and compliance costs for installers. Geo-Tagged Images MEA urges that system uploads be enabled in single, geo-tagged batches to streamline documentation. Consideration should also be given to offline functionality for installers operating in areas with limited connectivity. Where possible, the VEIJ program should integrate with ESV's CoES system, enabling installers to complete all administrative uploads and documentation through a single submission. Where CoES integration is not viable and/or practical, MEA encourages the development of a software portal for electrical workers that allows simple image uploads with automated location tagging and progressive saving, reducing the time required to capture and submit evidence during installation. Product Traceability and Conformance MEA supports the digitised product conformance and traceability framework developed by the National Building Products Coalition and recommends digitised conformance and traceability for CER. Enhanced product traceability ensures that all CER actors (installers, aggregators, system operators, manufacturers) have access to complete and accurate product data, improving reliability in maintenance, orchestration and monitoring. The framework also supports safer and more efficient maintenance over the product's lifecycle and improves accountability if faults or non-compliance are identified during future repair or replacement work. | CoES API Integration — Between VEIJ and ESV systems i.e. CoES requirements) to streamline data and attachment capabilities, reducing duplication and compliance burden Software Ap - Development of a pre-automated software portal enabling installers to capture and progressively save geo-tagged images through a mobile app, including offline functionality for areas with limited connectivity. Product Traceability and Conformance - Through adoption of the digitised conformance and traceability framework developed by the National Building Products Coalition (NBPC), supporting end-to-end visibility for CER products. Should the record-keeping requirements for validating systems differ based on system size (i.e. less than 1 00 kW vs. greater than 100 kW)? Yes/No Given the intent of the photos and data captured, and MEA's proposed solutions to minimise the administrative requirements on electrical contractors, we believe the record-keeping requirements should remain largely consistent across all system sizes. | No |  | No | MEA believes the process can be significantly streamlined through the implementation of our previously suggested API integration or software ap, and product traceability measures. While the current form is satisfactory as an interim solution, it creates administrative burden by duplicating information already required from installers under COES requirements. We encourage interoperability between ESV and VEIJ systems by digitising the process so that the form is either pre-populated from the COES form (and/or vice versa). Customise The requirement to customise the VEEC form with company logos and cost details should include functionality to save and auto-populate this information for future submissions, reducing duplication. Administrative Requests To improve usability, data fields completed by electrical contractors should also be saved and pre-filled where possible for subsequent form submissions. | Yes | N/A | N/A | Yes | An alternative approach could be for the Commission to arrange remote verification of a system's performance within the first 90 days of installation, and if there are any performance issues to require rectification by the installer, or the installer would face losing their accreditation. |  |  | Where a complaints procedure is required under the Code of Conduct' requirements within scheme's application process, it should align with existing complaints handling procedures
12 | Northmore Gordon Environmental | No | We consider the proposed measures to be excessive. The existing installer licenses, together with SAA accreditation, adequately collectively ensures that solar installations meet technical, safety and performance standards accepted across Australia. What project-specific risks do the additional controls protect against? For example, SAA registration requires an installer to be approved for working with heights, therefore the VEU should not need to require this separately. | No | Recognize Existing Accreditation – Accept current CEC installer accreditation and State electrical license as sufficient evidence of competency. Reference National Standards – Require compliance with AS/NZS 3000 (Wiring Rules) and AS/NZS 5033 (PV installation) rather than introducing new technical approval pathways. Simplify Ongoing Compliance – Limit ongoing reporting to what is already required under CEC and SAA schemes to avoid duplication. | Yes and No | Clarity is sought on the proposed requirement of only one VEEC installation per NMI or per site? The requirement needs to be a reasonable reflection of what is found in the field, which can include more or less than one NMI per site. | The need to include the product warranty information to be sent to the consumer for records keeping. Approved Installer(s) - Photo ID as a recommendation and not a requirement given these are Commercial and industrial sites, generally there are JSA and SWMs in place that requires copies of licenses/ID for personnel involved in the installation. We recommend that the ESC formalise Activity 47 record-keeping requirements to mirror the CER and SAA evidence standards, ensuring consistency across federal and state schemes. The AP should remain responsible for record integrity and the final declaration, with flexibility to use JSA/SWMS documentation as valid ID verification for C&I sites. Warranty information, consumer rights documentation, and VEEC assignment forms should form part of the permanent compliance pack retained by the AP. Upgrade product(s) - we recommend that all Solar PV modules/inverters and batteries installed under Activity 47 be sourced from the CEC approved product lists. Using the CEC lists ensures product safety, quality, and compliance with national standards, avoids duplication between VEU and federal programs, and allows automatic ineligibility for any products removed or suspended by the CEC. If the ESC maintains its own list, it should mirror and update in line with the CEC database to maintain consistency and program integrity. P14 – on Installation requirement – monitoring system – There are complications in providing reports, videos, or screenshots of monitoring systems due to privacy and security concerns, as some customers do not allow access to their monitoring portals. Video recording also requires significant storage. Therefore, providing a video of the active monitoring portal is not feasible as a standard requirement but may be used as a last resort if other evidence is insufficient to prove the system is operational and generating data. Please clarify who will be responsible for holding evidence of solar designers/installers? Will it be the AP? Quoting : This option looks unreasonable – doesn’t the energy retailer provide the feed-in tariff? written advice from the relevant DNSP regarding applicable feed-in tariffs and any export constraints (as relevant) Is an SLD required for systems under 100 kW? It seems excessive for smaller installations. | Yes | Providing a SLD for systems < 100kW is too excessive. Unless there are multiple NMIs under the same address. | Yes | Product details: request that we have an option to tick a box saying each of these bits of details are in the CoES - removing requirement for us to transcribe them into this form ABN: boxes are not actually useful to fill out ABN/CAN Referencing to STC Assignment of rights form – it is more convenient to have the authorised representative of the business/contractor who sold the solar PV system to the customer to verify and sign the declaration rather than us as the AP. | Yes | N/A | N/A | Yes | NG will do desktop audits to ensure all the materials provided by the installers have signed to say they meet the requirements as defined. NG may also do field audits. However, NG does not think it would be appropriate that APs would be auditing the electrical or installation standards that are required under SAA accreditations for installers and designers. We note that the CER has independent auditors who review systems < 100kW for compliance. The VEU PBA method does not require the AP to verify solar installations for compliance against SAA standards and hence we think the same applies for Activity 47. In addition there is a requirement for a licensed electrical inspector to approve the solar system prior to grid connection. | N/A | N/A | N/A
13 | Ecovantage | Yes | Just to note non-alignment with current industry practices, SAA Working from Heights units are CPCCCM2012 / RIIVVHS204E, whereas the VEIJ requires completion of either VIJ22744 or VU23631. These two are more intensive in that they address Solar-Specific Hazards, and while they are a mandatory requirement to participate in SolarVIC Solar Home Program, SolarVic is mainly for Residential not Commercial scale installations. | Yes |  | No | Single Line Diagrams - SCD requirements are overly detailed: the CER LRET scheme only requires the following - number of panels per inverter including string diagram, make and model of all inverters, connection point meter, battery energy storage system if applicable,. This would be more reasonable and align with current industry practices. Another approach could be to only require SLDs for jobs over 100kW. Video requirement - the video requirement for proof of monitoring may cause issues - file size will be difficult to manage and video may not capture all requirements. Time-stamped Screenshots would achieve the same result without the potential for error. Monitoring portal report - please note that NMIs/addresses are not always listed in portals however there will be identifying data (i.e. serial numbers) that can prove the correct address/claim. These should be also acceptable. Screenshots of the portal would be additional evidence. Multiple installers photo requirements - This requirement is higher than other VEIJ activities and schemes (SRES) and it is unclear why it has been added. There is no practical way to confirm that the number Of personnel in the photo includes all people on site. We urge that the VEIJ aligns with industry standards. Photo Identification in additional installer photo - it is excessive to require that installers include their photo ID in photos; their identity can just as easily be confirmed separately. It also represents a safety risk if the stage taken is 'Post-installation/commissioning' as this might be taken on the roof to capture the PV array. We propose that installer selfies do not require photo ID within the selfie so long as the installer identity is confirmed (i.e. Accredited Person confirms their driver's license). Aerial or elevated Photograph — needs clarification. Capturing the full array may be difficult where panels are dispersed - can they take multiple photos? | • Video requirement - Alternative: screenshots with time stamps. • Aerial or elevated Photograph - Adjustment: allow multiple photos. | Yes | Single Line Diagrams - required over 100kVV. Either not required under 100k\W or to a lesser level of detail. Refer to Question 6 answer. | Yes | N/A | N/A | We would only stress that applications are assessed promptly and any delays are communicated to the relevant APS. Given recent delays we are concerned that this process could drag on, reducing industry confidence in the Activity. Given the Activity began on September 29, it is possible that an otherwise eligible job might begin prior to all Activity requirements being finalised (i.e. training requirements). Any changes that occur due to the consultation increases this risk. AP's need clarification/reassurance on this point to ensure that both AP's and installers can comply with requirements, and know that changes made during consultation will not render a particular claim ineligible. | The VEIJ should work with other regulatory bodies such as the Clean Energy Regulator to ensure that companies that have had compliance issues with other schemes are identified and properly assessed as being Fit and Proper prior to admission to the VEU. | More information is required before we can say whether we support this. Detailed below. | Checks should focus on the scheme's eligibility criteria and alignment with VEIJ practices (i.e. Code of Conduct etc). Where checks focus on the nature of the installation, i.e. technical compliance with Australian Standards, the installersfinstaller company in particular need to be held accountable. If installation safety is the main concern, then Solar Victoria's post-installation inspection program would be a good model to follow. | A quality assurance review should not be a blanket condition for all, but rather for those that only just meet the eligibility criteria, i.e have limited experience in Solar or are new to the VEU.. For those that can demonstrate sufficient experience in both STCs and LGCs, along with the VEU scheme, a quality assurance review should not be necessary. If a company has carried out PBA Solar activities, then Deemed Solar is considerably more straightforward. | No. We would only stress the importance of timely approval where prior PBA experience and a proven PBA compliance track-record exists. This means these companies know the VEIJ, and solar, and are capable.
14 | ESIA | Yes | N/A | Yes and No | An SAA Installer licence requires an Electrical licence and working at height as a prerequisite, therefore these requirements should not be required again under VEU. | Yes and No | The proposed requirement for video footage is impractical. As well as potentially putting installers at risk on site e.g. in adverse weather conditions or challenging physical conditions, video files can be difficult to upload e.g. from a site where reception or bandwidth is poor. Such video files of commercial installations could potentially be very large. Even smaller sites may present significant video file size challenges e.g. for upload to compliance platforms. Instead, the proposed requirement could be a combination of image/PDF files that provide proof that all the evidence requirements have been met. E.g. a still image /PDF of the portal webpage should be adequate to illustrate the monitoring system for the installation. Clarity is sought on the proposed requirement of only one VEEC installation per NMI or per site? The requirement needs to be a reasonable reflection of what is found in the field, which can include more or less than one NMI per site. The proposed requirement is suggesting where there are multiple installers on site, Selfie photos of each installer are required. This seems unreasonable and should be updated to align with CER requirements of a Selfie of the supervisor installer only. Considering that the battery rebate is not covered as part of Activity 47, requiring battery details including name plates and serial numbers seems to be compliance evidence gathering overreach. There are mixed views on whether this is necessary. The need, or not, for single line diagrams based on the system size needs to be clearly communicated and justified. There are mixed views of what is required and where this will or won’t align with other regulators such as for STC versus LGC creation. Aligning the requirement with CER requirements where possible seems reasonable. In this case, for installation below 100KW there should not be a requirement for SLD, as this just adds to cost and ultimately reduces the financial benefit to the customer. | No | Yes | Emulate the Clean Energy Regulator requirements for consistency. | No | There are mixed views in the ESIA membership about a reasonable approach. Some consider that the AP should sign off to say that everything is true and that false information has not been provided. However, others consider that it should be the AP or solution provider business that should do so, especially in cases where these entities are two different businesses. This would put the onus on the entity that holds the installer license, e.g. the solution provider, that is the entity that can clearly be held to account directly if they prove to be the entity that provides false information or has engaged the installer directly (as an employee or contractor) that has done so. PBA AP businesses noted that the AP always has been required to sign. ESIA has long held the position the installer should sign to provide visibility to the regulator, and now also that the solution provider business needs to be more visible to the regulator. | N/A | Clarity is sought on whether it is the installer person or the business providing the solution and engaging the installer, either as a contractor or employee, that requires a minimum of two years’ experience. Clarity is sought on where an AP business will stand in the this scenario as the AP business that simply creates the VEECs will not have two years’ of experience doing installations. | The ESC should collaborate with other regulators (such as the Clean Energy Regulator) to quickly verify applicants that have compliance record issues. The ESC should consider any penalties against entities issued by other regulators. | Yes | There are mixed views. Some members consider that the person responsible for conducting a quality assurance review should be appropriately trained by a qualified person but not necessarily qualified themselves. This values the acquired learning which occurs amongst sophisticated AP businesses. For example, they train their compliance team staff to audit jobs for which they are not personally licensed, but for which they have check lists that are reasonable to provide with certificate creation. Checks as part of a quality assurance review are best sourced directly from Ap businesses, as this information can be commercial in confidence. | N/A | N/A