Gas Distribution Code of Practice

Version 2

[Day] [Month] 2027

Copyright notice

Essential Services Commission, Gas Distribution Code of Practice, 2027.

This work is licensed under a Creative Commons Attribution 4.0 licence [creativecommons.org/licenses/by/4.0]. You are free to re-use the work under that licence, on the condition that you credit the Essential Services Commission as author, indicate if changes were made and comply with the other licence terms.

The licence does not apply to any brand logo, images or photographs within the publication.

Revisions to this Code of Practice

| Version no. | Date effective | Nature of amendment |
| --- | --- | --- |
| 1 | 1 October 2024 | Replaced the Gas Distribution System Code of Practice (version 16). |
| 2 | 1 January 2027 | Amendments to implement life support reforms. |

Table of Contents

1.	Introduction

1.1.	Purpose

1.2.	Commencement and operation

1.3.	Civil penalty requirements

1.4.	Exemption from compliance with this Code of Practice

2.	Interpretation

2.1.	Glossary

2.2.	Customer requests and agreements

2.3.	Receipt of communications and notices

3.	Operation of a distribution system

3.1.	Distributor obligations

3.2.	Guaranteed Service Levels

3.3.	Maintenance

3.4.	Unaccounted for gas

3.5.	Deemed distribution contracts

3.6.	Scope of Metering Provisions

3.7.	Metering provisions

4.	Connections and augmentation

4.1.	New connections

4.2.	Connection charges

4.3.	Provision of information

4.4.	Augmentation

5.	Interruption

5.1.	Interruption

5.2.	Notice of health or safety interruption

5.3.	Unplanned interruptions

5.4.	Right to information by a customer

5.5.	Minimisation of interruption

5.6.	Interruption procedures

5.7.	Residual retailer obligations

6.	Disconnection, reconnection and abolishment

6.1.	Disconnection

6.2.	Abolishment

6.3.	Reconnection

6.4.	Provision of information on disconnection and abolishment

7.	Life support equipment

7.1.	Requirement

7.2.	Objective

7.3.	Registration of life support equipment

7.4.	Distributor obligations when advised by retailer

7.5.	Content of medical confirmation form

7.6.	Confirmation of supply address as requiring life support equipment

7.7.	Ongoing distributor obligations

7.8.	Deregistration of life support customer

7.9.	Cessation of distributor obligations after deregistration

7.10.	Deregistration where medical confirmation not provided

7.11.	Deregistration where there is a change in the customer’s circumstances

7.12.	Deregistration where there is a change in the customer’s retailer

7.13.	Registration and deregistration details must be kept by distributors

8.	Customer prohibitions and obligations

8.1.	Customer prohibitions

8.2.	Customer obligations

9.	Non-compliance by distributors and customers

9.1.	Distributor’s obligation to remedy and report

9.2.	Notification to customers

9.3.	Non-compliance by customers

9.4.	Tenants’ obligations

10.	Customer complaint handling

11.	Notification of change of gas type

11.1.	Distributor notice to small customers of change of gas type

11.2.	Publication of information on gas type

12.	Regulatory reviews

12.1.	Appointment of reviewer

13.	Other matters

13.1.	Distributors permitted to subcontract functions

13.2.	Adjustment of network charges

13.3.	Costs of inspection and testing

Schedule 1: Civil Penalty Requirements

Schedule 2: Operational matters

Part 1: Distribution system pressure

Part 2: Maximum allowable error limits

Part 3: Unaccounted for gas

Part 4: Guaranteed Service Levels

Schedule 3: Gas distributor reporting obligations and performance indicators

Part 1: Distributor reporting obligations

Part 2: Distributor performance indicators

# Introduction

### Purpose

The objectives of this Code of Practice are:

      - to set out the minimum standards for the operation and use of a distribution system including requirements for:

        - the operation of a distribution system;

        - connection and augmentation;

        - disconnection, reconnection and abolishment;

        - standards and testing of metering installations;

        - interruptions;

        - life support equipment;

        - provision of information to customers;

        - deemed distribution contracts; and

        - customer complaint handling.

      - to promote the long-term interests of Victorian consumers.

### Commencement and operation

This Code of Practice came into effect on 1 October 2024 and was last amended on 1 December 2027.

Note: This Code of Practice is made under section 47(1) of the Essential Services Commission Act 2001 and replaces version 16 of the Gas Distribution System Code of Practice.

### Civil penalty requirements

The clauses specified in Schedule 1 of this Code of Practice are specified as civil penalty requirements for the purposes of section 47(4)(f) of the Essential Services Commission Act 2001.

### Exemption from compliance with this Code of Practice

    - A person who is subject to any provision of this Code of Practice may apply to the Commission for an exemption from complying with one or more provisions of this Code of Practice.

    - Upon receipt of an application, if the Commission considers it appropriate to do so, it may exempt the person from complying with one or more provisions of this Code of Practice for a specified period.

    - Any exemption granted under clause 1.4.2:

      - may exempt the person from complying with a provision of this Code of Practice either wholly or to a specified extent; and

      - may be granted unconditionally or on such conditions as the Commission considers appropriate.

### Application to exempt distributors

    - This Code of Practice applies to an exempt distributor:

      - as set out in Schedule 1A of this Code of Practice; and

      - where an exempt distributor is a customer of a distributor, to the extent that this Code of Practice confers any right or imposes any obligation upon a customer.

# Interpretation

### Glossary

Words and phrases in this Code of Practice which appear in italics are defined below:

| abolishment | the permanent removal of a connection by: (a) cut and cap of the service within the street and removal of all above ground assets (including the meter); or (b) removing a meter and service line to prevent the withdrawal of gas at the distribution delivery point. |  |
| --- | --- | --- |
| acceptance testing | the testing and setting conducted by a manufacturer or installer on a meter, corrector or metering installation to establish the initial calibration of the meter, corrector or metering installation. |  |
| access arrangement | an access arrangement approved by the Australian Energy Regulator under the National Gas Rules. |  |
| Act | the Gas Industry Act 2001. |  |
| AEMO | the Australian Energy Market Operator Limited, ABN 94 072 010 327. |  |
| affected party | a person who may be affected by the possible inaccuracy of a metering installation or metering data from that metering installation. |  |
| AS/NZS 4944 | Australian Standard AS/NZS 4944:2006 Gas Meters – In-service compliance testing, as amended from time to time. |  |
| augmentation | the process of upgrading capacity or service potential of a distribution pipeline by: (a) replacing or enhancing existing plant or equipment; or (b) adding new plant or equipment. |  |
| basic connection service | a service involved in providing a connection between a distribution pipeline and a customer’s premises where the provision of the service involves minimal or no extension to, or augmentation of, the distribution pipeline. |  |
| best endeavours | includes acting in good faith and doing all that is reasonably necessary in the circumstances. |  |
| biomethane |  | has the same meaning as in the NGL. |
| business day | a day other than a Saturday or a Sunday or a public holiday (being a public holiday that is appointed as such under the Public Holidays Act 1993) in the Melbourne metropolitan area. |  |
| change of gas type | occurs when there is a change in the type of gas that may be supplied through a distribution system. Note: A change of gas type would occur, for example, if only natural gas is supplied through a distribution system and then a new facility capable of injecting hydrogen is connected to that system. This is because after the connection of that facility, customers may be supplied with a gas blend made up of natural gas and hydrogen. A change in the volume of primary gases that may be blended together to make a gas blend is not a change of gas type. |  |
| Class A supply point | a distribution delivery point of a gas customer or a distribution connected facility that withdraws 250,000 GJ or more per year. |  |
| Class B supply point | a distribution delivery point of a gas customer or a distribution connected facility that withdraws less than 250,000 GJ per year. |  |
| Code of Practice | the Gas Distribution Code of Practice. |  |
| Commission | the Essential Services Commission established under the Essential Services Commission Act 2001. |  |
| complaint | a written or verbal expression of dissatisfaction about an action, a proposed action, or a failure to act by a distributor, its employees or contractors. This includes failure by the distributor to observe its published practices or procedures. |  |
| connection | the joining of a gas installation to a distribution delivery point to allow the flow of gas. |  |
| connection alteration | an alteration to an existing connection including an addition, upgrade, extension, expansion, augmentation or any other kind of alteration. |  |
| connection charge | a charge imposed by a distributor for a connection service. |  |
| connection service | a service relating to a new connection for premises or a service relating to a connection alteration for premises. |  |
| corrector | a device which adjusts an uncorrected quantity of gas from actual to standard conditions for billing and other purposes. |  |
| customer | a person to whom a distributor delivers gas through its distribution system at a distribution delivery point or a person who has sought connection to the distribution system for such delivery or potential delivery of gas. |  |
| data logger | a device that collects and stores data relating to the quantity, temperature and pressure of gas and is capable of either: (a) transferring recorded data to a portable reading device; or (b) being accessed electronically by AEMO through a data collection system. |  |
| declared transmission system (DTS) | a transmission pipeline, or a part of a transmission pipeline, declared by Order under section 39 of the National Gas (Victoria) Act 2008 to be a declared transmission system. |  |
| dedicated facilities | in relation to a customer, means those facilities that are used or may be used to transport gas to that customer and no other customer. |  |
| deemed distribution contract | the terms and conditions for the distribution or supply of gas by a distributor that are approved by the Commission under section 48 of the Act. |  |
| deregister | the removal or modification of life support customer details from a register of life support customers and residents so as to indicate that a customer is no longer a life support customer. |  |
| deregistration notice | [not used] |  |
| disconnection | the temporary closing of a connection to prevent the withdrawal of gas at the distribution delivery point by: (a) the use of locks or plugs at a metering installation; or (b) removal of the meter at a metering installation (without removing the service line) that does not include an interruption. |  |
| distribution connected facility | a storage facility, gas production facility or blend processing facility connected to a distribution system. |  |
| distribution delivery point | a point on a distribution pipeline at which gas is withdrawn from a distribution system and delivered to a customer or injected into a distribution connected facility. |  |
| distribution licence | a licence to provide services (other than the sale of gas by retail) by means of a distribution pipeline granted by the Commission under the Act. |  |
| distribution pipeline | any pipeline which has a maximum allowable operating pressure of up to 1050 kPa gauge (including pipelines for the reticulation of tempered liquified petroleum gas) and any other pipelines which: (a) have a maximum allowable operating pressure greater than 1050 kPa gauge; (b) are functionally a distribution pipeline in nature (i.e., few inputs and many closely spaced outputs); and through which a distributor transports gas to customers. |  |
| distribution service | the service of receipt of gas at transfer points and receipt points, haulage of the gas through a distribution system and delivery of the gas at distribution delivery points. |  |
| distribution system | a network of pipes, meters and controls which a distributor uses to supply gas. |  |
| distributor | a person who holds a distribution licence under the Act. |  |
| DUAFG period | has the same meaning as in AEMO’s Wholesale Market Settlement Procedures (Victoria). |  |
| emergency | has the same meaning as in the Emergency Management Act 2013. |  |
| energy ombudsman | the Energy and Water Ombudsman (Victoria) scheme or any other customer dispute resolution scheme approved by the Commission pursuant to section 36 of the Act. |  |
| Energy Retail Code of Practice | the code of practice of that name made by the Commission. |  |
| error limits | the limits within which the components of metering installations affecting metering must be calibrated to be accurate as set out in Schedule 2, Part 2. |  |
| ESV | Energy Safe Victoria established under the Energy Safe Victoria Act 2005. |  |
| exempt distributor | a person who is exempt from holding a licence under Part 2 of the Gas Embedded Networks General Exemption Order. |  |
| explicit informed consent | consent given in accordance with clauses 7.11(c) and (d). |  |
| force majeure | an event beyond the reasonable control of a person which causes a delay in performance, or non-performance by that person of an obligation and includes: (a) an emergency; (b) the issue by ESV of a direction under section 106 or 107 of the Gas Safety Act 1997; or (c) an act of nature, governmental intervention or act of war, neither anticipated nor controllable by a distributor. |  |
| gas | has the same meaning as in the Act. |  |
| gas blend |  | has the same meaning as in the NGL. |
| Gas Distribution Code of Practice | the code of practice of that name made by the Commission under Part 6 of the Essential Services Commission Act 2001, as amended by the Commission from time to time. |  |
| Gas Embedded Networks General Exemption Order | the Order in Council made under section 24(1)(a) of the Act and published in the Victorian Government Gazette No. S 69 on 25 February 2025 (as amended from time to time). |  |
| gas installation | any gas equipment located at a customer’s premises that is not part of a distribution system. |  |
| gas installer | a person authorised under relevant regulatory requirements to install, repair, alter or make any addition to a gas installation or to any part of a gas installation. |  |
| GJ | Gigajoule, being one thousand million Joules (1,000,000,000j). |  |
| Guaranteed Service Levels or GSLs | the levels of service in connection with the distribution of gas to customers set out in Schedule 2, Part 4 to this Code of Practice. |  |
| interruption | a planned interruption or an unplanned interruption. |  |
| interval metering installation | a metering installation with a data logger. |  |
| kPa | Kilopascal, equal to one thousand pascals as defined in Australian Standard AS 1000-1979 “The International System of Units (S1) and its Application” and, unless otherwise specified, refers to a gauge pressure in excess of the atmospheric pressure. |  |
| life support customer | a customer who is a life support resident or a customer at whose premises a life support resident (who is not the customer) resides or intends to reside. |  |
| life support customer details | in relation to a customer: (a) information that evidences that the customer is a life support customer; (b) the personal details of each life support resident residing or intending to reside at the premises of the life support customer; and (c) the date from which life support equipment is required at the premises of the life support customer by each life support resident. |  |
| life support equipment | has the meaning given by section 48DC of the Act. Note: See Schedule 7 of the Energy Retail Code of Practice. |  |
| life support protections | the protections against disconnection of a life support customer under Part 3, Division 4AA of the Act and clause 7.7 of this Code of Practice. |  |
| life support resident | a person who requires life support equipment. |  |
| life-threatening condition | a condition that a registered medical practitioner has identified in the relevant medical confirmation as being one where the life support resident would be at a high likelihood of death or permanent injury if the life support equipment used by that life support resident was to be without power during a prolonged power outage. |  |
| main | a low, medium or high-pressure pipe in a distribution system, other than a service pipe. |  |
| market participant | a person who is registered with AEMO under the National Gas Rules as a market participant. |  |
| medical confirmation | a medical confirmation form in which all mandatory fields have been completed and which is signed and dated by a registered medical practitioner. Note: For transitional arrangements for medical confirmation, see clause 1 of Schedule 4. |  |
| medical confirmation form | the form titled “Medical Confirmation Form for Life Support Equipment” published on the Commission’s website from time to time and to be issued by a retailer to a relevant customer to enable the relevant customer to provide (in hard copy or electronically) medical confirmation to the retailer. |  |
| meter | an instrument that measures the quantity of gas passing through it and includes associated equipment attached to the instrument to filter, control or regulate the flow of gas. |  |
| meter family | for meters covered in AS/NZS 4944, a meter family is a group of meters defined as a population in AS/NZS 4944 and grouped in accordance with the requirements in AS/NZS 4944. For meters not covered in AS/NZS 4944, a meter family is a group of meters in which: (a) all meters have been made to the same specifications by the same manufacturer; (b) there are no significant differences in components or materials between the meters; and (c) all the meters have been sealed with the same date code. |  |
| metering data | the measure of quantity of gas flow obtained from a metering installation. |  |
| metering installation | the meter and associated equipment and installations, which may include correctors, regulators, filters, data loggers and telemetry relating to a distribution delivery point. |  |
| NATA | the National Association of Testing Authorities Australia (ACN 004 379 748) |  |
| National Gas Rules | has same meaning as in the NGL. |  |
| natural gas | has the same meaning as in the Act. |  |
| NGL |  | the National Gas (Victoria) Law as applied under section 7 of the National Gas (Victoria) Act 2008. |
| non-DTS distribution system | a distribution system which is not connected directly or indirectly to a declared transmission system, or which is indirectly connected to a declared transmission system but by means of a pipeline that does not form part of a declared transmission system. |  |
| pipeline | has the same meaning as in the Act. |  |
| planned interruption | an interruption under clause 5.1(e) of this Code of Practice. |  |
| prescribed standards of quality | the standards of quality and other requirements for gas set out in the Gas Safety Act 1997. |  |
| primary gas |  | has the same meaning as in the NGL. |
| receipt point | a point at which gas is received into a pipeline, other than a transfer point, including a point at which gas is received into the pipeline from a distribution connected facility. |  |
| reconciliation amount | has the same meaning as ‘DUAFG reconciliation amount’ in AEMO’s Wholesale Market Settlement Procedures (Victoria). |  |
| reconnection | action to restore the ability to withdraw gas at a distribution delivery point following an earlier disconnection by the removal of any locks or plugs at a metering installation or by the reinstallation of a meter if it has been removed. |  |
| register of life support customers and residents | a register established, maintained and kept up to date in accordance with clauses 7.4 and 7.13 of this Code of Practice. |  |
| registered life support customer | [not used] |  |
| regulatory requirement | any applicable Commonwealth, Victorian or local law, subordinate legislation, legislative instrument or mandatory regulatory requirement including industry codes and standards. |  |
| regulatory year | a period commencing on 1 July in a calendar year and terminating on 30 June in the following calendar year. |  |
| residential customer | a customer who uses gas primarily for domestic purposes. |  |
| responsible person | has the meaning in rule 292 (as in force from time to time) of the National Gas Rules, and in relation to a metering installation at a non-DTS distribution system means the distributor. |  |
| retail billing period | two calendar months or any other period agreed between a distributor and a retailer. |  |
| retail licence | a licence to sell gas by retail granted by the Commission under section 26 of the Act. |  |
| retailer | a person who holds a retail licence under the Act. |  |
| secondary contact person | in relation to premises that have been, or are to be, registered as requiring life support equipment, means an additional person (which may, without limitation, be the life support resident) nominated by the life support customer to a retailer or to an exempt electricity seller, to be provided with information, notices or requests where such information, notices or requests are required to be given to a life support customer. |  |
| Schedule 2 Guidance | Schedule 2 to version 16 of the Gas Distribution System Code of Practice, as in force immediately before the commencement of this Code of Practice. |  |
| service pipe | a pipe ending at a metering installation or, for an unmetered site a gas installation, which connects a main or a transmission pipeline to customer’s premises, as determined by a distributor. |  |
| settlement metering point | has the same meaning as in rule 200 of the National Gas Rules. |  |
| shared distribution system | in relation to a customer, means the part of a distribution system that is used or may be used to transport gas to that customer that does not comprise dedicated facilities. |  |
| small customer | means a ‘domestic or small business customer’ as defined in the Act. |  |
| storage facility | a facility for the storage of large quantities of gas, including liquid gas storage services and underground storage services. |  |
| tariff V customer | residential or small commercial customer who consumes either less than 10,000 GJ per year or less than 10 GJ in one hour. |  |
| transfer point | a point at which the custody of gas is injected from a transmission system into a distribution system or from a distribution system into a distribution system. |  |
| transition date | the first date on which there may be a change of gas type in a distribution system. Note: For example, the transition date may be the first date on which a facility connected or to be connected to a distribution system may inject gas (other than natural gas) into that distribution system. |  |
| transmission pipeline | any pipeline which has a maximum allowable operating pressure of greater than 1050 kPa gauge and is not a distribution pipeline. |  |
| transmission system | a pipeline or a system of pipelines, for the high-pressure transmission of gas operated by AEMO principally in Victoria, and all related facilities, together with: (a) all structures for protecting or supporting the pipeline or system of pipelines; (b) facilities for the compression of gas, the maintenance of the pipeline or system of pipelines and the injection or withdrawal of gas; (c) all fittings, appurtenances, appliances, compressor stations, odorisation plants, scraper stations, valves, telemetry systems (including communications towers) and works and buildings used in connection with the pipeline or system of pipelines; but excluding all storage facilities and distribution systems. |  |
| type of gas | a primary gas or a gas blend. Note: For example, the type of gas supplied may be a primary gas such as natural gas or biomethane or a gas blend made of natural gas and hydrogen. |  |
| type testing | the testing conducted to establish the fitness for purpose of a new metering installation type. |  |
| unaccounted for gas | the difference between the amount of gas injected into a distribution system at all transfer points and all receipt points, and the total amount of gas withdrawn from a distribution system at distribution delivery points, including but not limited to leakage or other actual losses, discrepancies due to metering inaccuracies and variations of temperature, pressure and other parameters. |  |
| unaccounted for gas benchmark | the benchmark rate for each distributor in relation to the rates of flow of gas as set out in Schedule 2, Part 3 of this Code of Practice. |  |
| unplanned interruption | a temporary unavailability or curtailment of the supply of gas to carry out unanticipated or unplanned maintenance or repairs in circumstances where: (a) there is a need to reduce the risk of damage to persons or property; (b) a force majeure event occurs which affects the distributor’s ability to deliver gas; or (c) where the distributor is directed to disconnect supply under clause 6.1.1(c) of this Code of Practice. |  |
| user | a market participant, retailer, or a customer who has a contract for distribution services with a distributor. |  |
| year | a calendar year or a regulatory year. |  |

### Customer requests and agreements

In this Code of Practice, unless otherwise stated, a reference to a request or an agreement made by a customer includes a request or an agreement by an authorised agent or representative of the customer.

### Receipt of communications and notices

Any written communication or notice required or permitted to be given under this Code of Practice is to be regarded as having been given by the sender and received by the addressee:

- if delivered in person to the addressee, or delivered to the addressee’s supply address, on the day when the notice is delivered;

- if sent by post, four business days after the date of posting, unless evidence to the contrary is provided;

- if it is an electronic communication, at the time determined in accordance with the Electronic Transactions (Victoria) Act 2000.

# Operation of a distribution system

### Distributor obligations

In operating a distribution system, a distributor must:

- establish operational and system security standards for its distribution system and for all connections and proposed connections to its distribution system;

- maintain the delivery pressure of gas from its distribution system to ensure the minimum supply pressure is maintained at the fringe point and at the outlet of the meter as set out in Schedule 2, Part 1 to this Code of Practice to the extent it is within the distributor’s power to do so;

- subject to this Code of Practice, deliver gas received from a user at transfer points and receipt points through its distribution system to distribution delivery points nominated by the user on terms and conditions set out in any applicable access arrangement;

- except where a distributor is prevented from so doing by force majeure, ensure that gas which meets the prescribed standards of quality when delivered into its distribution system at a transfer point or a receipt point also meets the prescribed standards of quality (including odourisation) when it is delivered to a customer at a distribution delivery point; and,

- on request by a customer, provide:

  - a copy of this Code of Practice or other regulatory documents relevant to the customer’s request;

  - details as to the distributor’s requirements in relation to:

    - the protection of the distributor’s equipment; and

    - non-interference by the customer with the distributor’s distribution system or with the supply to any other gas installation;

  - an explanation for a distributor’s non-compliance with clauses 3.1(b) and 3.1(d),

within 10 business days of receipt of the request.

### Guaranteed Service Levels

    - A distributor must use best endeavours to meet the Guaranteed Service Levels for tariff V customers.

    - A distributor must:

- at the end of each quarter, determine whether it must make a Guaranteed Service Level payment;

- where a distributor has not met a Guaranteed Service Level in relation to a particular tariff V customer, the distributor must make a payment as soon as practicable and in any event within two retail billing periods following the completion of the quarter in which the customer became eligible for the Guaranteed Service Level payment.

Note: The payment amounts for failure to meet the Guaranteed Service Levels are set out in Schedule 2, Part 4 of this Code of Practice.

### Maintenance

A distributor must:

- use best endeavours to maintain the capability of its distribution system;

- establish a maintenance program for its distribution system for the following year at least 3 months prior to the commencement of that year; and

- establish an indicative maintenance program for its distribution system for each of the following five years following the current maintenance program.

### Unaccounted for gas

    - A distributor must use best endeavours to ensure that the quantity of unaccounted for gas in its distribution system for any year as a percentage of the aggregate quantity of gas received by the distributor at all transfer points and at all receipt points into its distribution system in that year is less than the applicable unaccounted for gas benchmark(s) set out against its name in Schedule 2, Part 3 of this Code of Practice.

Note: Each of the unaccounted for gas benchmark values set out in Schedule 2, Part 3 is specific to a single DUAFG period. Where a calendar year comprises two DUAFG periods, the quantity of unaccounted for gas for each of those DUAFG periods must be assessed against the unaccounted for gas benchmark applicable in that DUAFG period.

    - With respect to clause 3.4.1, a distributor must give written notice to AEMO of the volume of gas withdrawn by the distributor for a customer for each calendar year. A distributor must give the written notice to AEMO within 16 months after the end of the calendar year in which the gas was withdrawn.

    - Where the percentage volume of unaccounted for gas in a year is different to the unaccounted for gas benchmark a reconciliation amount is payable.

Note: The reconciliation amount for a calendar year is the sum of the reconciliation amounts for each of the DUAFG periods in that calendar year and any adjusted reconciliation amounts (determined under the Wholesale Market Settlement Procedures (Victoria)) for a DUAFG period in the previous calendar year.

    - If the reconciliation amount is negative, the distributor must pay the reconciliation amount to the respective retailer.

    - If the reconciliation amount is positive the retailer must pay the reconciliation amount to the respective distributor.

    - A distributor must publish on its website the most recently available data of unaccounted for gas, including:

- data that has been settled between distributors and retailers for the previous five years;

- where the data referred to in clause 3.4.6(a) is not available, the most recently available unsettled data for the previous five years, using estimates based on actual available data at the time of publication; and

- a comparison with the applicable unaccounted for gas benchmark(s) for each period.

    - The information published under clause 3.4.6 must:

- be in a format that makes it easy for a small customer to understand and access;

- be updated no later than 60 days after the end of each regulatory year.

    - Clauses 3.4.1 to 3.4.7 do not apply to a distributor that is exempt from registering with AEMO under the NGL.

    - A distributor that is exempt from registering with AEMO under the NGL must use best endeavours to minimise the quantity of unaccounted for gas in its distribution system.

### Deemed distribution contracts

    - A distributor must include a condition in its deemed distribution contract to the effect that it will comply with its obligations in respect of the customer as set out in this Code of Practice.

    - A distributor must not include any term or condition in its deemed distribution contract the effect of which is to limit the liability of the distributor to the customer:

- for any breach by the distributor of the contract; and

- for any negligence by the distributor in relation to the contract.

    - Clause 3.5.2 does not prevent the inclusion of a term or condition in the deemed distribution contract:

- under which the customer acknowledges the extent of the distributor’s responsibility for the quality and reliability of gas supply under this Code of Practice, the Act and the Gas Safety Act 1997; or

- confirming that, under the contract, there is no variation or exclusion to the operation of section 233 of the Act.

    - A distributor must not include an indemnity or other term or condition in its deemed distribution contract the effect of which is to entitle the distributor to recover from the customer in respect of:

- for any breach by the customer of the contract; or

- for any negligence by the customer in relation to the contract

any amount greater than that which the distributor is entitled to as compensation under the common law (including in equity) or statute, for the customer’s breach of contract or negligence.

### Scope of Metering Provisions

    - Clauses 3.6 to 3.7 set out the metering provisions of this Code of Practice.

    - The metering provisions of this Code of Practice provide for:

- the standards of metering installations; and

- the testing of metering installations.

    - The metering provisions of this Code of Practice are to be read, unless the contrary intention appears, in conjunction and consistently, with:

- Part 19 of the National Gas Rules (Declared Wholesale Gas Market Rules);

- Retail Market Procedures made under the National Gas Rules; and

- Wholesale Market Metering Procedures made under the National Gas Rules.

    - Clause 3.7. does not apply to a distributor that is exempt from registering with AEMO under the NGL.

    - The metering provisions of this Code of Practice do not apply to settlement metering points.

### Metering provisions

    - A distributor must ensure that each metering installation for which it is the responsible person:

- complies, and is calibrated to comply, with the error limits;

- if it contains a pressure regulator, is able to provide sufficient flow at the minimum regulator inlet pressure, and where a fixed pressure factor is applied, is able to reliably control the outlet pressure to meet the distribution system pressure requirements in Schedule 2, Part 1 of this Code of Practice.

    - A distributor must:

- conduct tests, or must cause tests to be conducted, in respect of the setting, sealing or certifying the accuracy of meters and correctors, by persons, or in a facility, accredited by NATA to conduct such tests.

- ensure that calibrating equipment used in connection with the calibration of its metering installations is certified by a verifying authority empowered to issue certificates under Regulation 13 of the National Measurement Regulations 1999 (Cth).

- carry out, or cause to be carried out, acceptance tests on meters, correctors and data loggers that are components of metering installations in the following circumstances:

  - before a new meter, corrector or data logger is placed in service;

  - before a meter, corrector or data logger that has been removed from service is placed back into service; and

  - after any repairs, maintenance or recalibration performed on a meter, corrector or data logger have been completed.

- ensure that any new type of metering installation is submitted for type testing.

- ensure that any metering installations that have been modified are assessed to determine whether the modified design continues to meet the minimum standards prescribed by this Code of Practice.

- if reasonable grounds exist for concluding that modifications to a metering installation affect its measuring capability, ensure that the metering installation is submitted for type testing.

    - A distributor must:

- within 15 business days of a request from an affected party, test a metering installation which has been installed to measure and record the amount of gas supplied to a customer to ascertain whether or not the metering installation is defective; and

- give at least five business days’ notice to the customer, and the affected party who requests a test of when the requested test is proposed to be performed; or

- agree to such other mutually convenient time for when the requested test is proposed to be performed with the customer and the affected party.

    - If the metering installation is not defective and meets the accuracy standards prescribed by this Code of Practice, a distributor may seek payment from the affected party who made the request for the costs of testing the metering installation, including the cost of replacing any broken seal used to protect the metering installation.

    - For meters that are defined in AS/NZS 4944:

- the initial life of a meter family must be determined by the distributor in accordance with the requirements of AS/NZS 4944;

- upon request by the Commission, the distributor must provide the sampling plan setting out the calculations upon which the distributor has determined the initial life of the meter family in accordance with clause 3.7.5(a), and the test results for both 20% and 100% of the badge capacity for the meter family;

- if a distributor intends to retain the meters in a meter family after the end of the initial life of the meter family, the distributor must notify the Commission of its intention at least three months before the end of the initial life of the meter family;

- the ongoing life of a meter family must be determined by the distributor in accordance with AS/NZS 4944; and

- upon request by the Commission, the distributor must provide the sampling plan setting out the calculations upon which the distributor has determined the ongoing life of the meter family in accordance with clause 3.7.5(d), and the test results for both 20% and 100% of the badge capacity for the meter family.

    - For meters that are not defined in AS/NZS 4944:

- the initial life of a meter family is 15 years commencing on the day a meter in that meter family was first used in the supply of gas to a customer;

- if a distributor intends to retain the meters in a meter family after the end of the initial life of that meter family, the distributor must notify the Commission of its intention at least 3 months before the end of:

  - the initial life of the meter family; and

  - each year that the meter family is in service after the initial life of the meter family;

- if a distributor intends to retain the meters in a meter family after the end of the initial life of that meter family the distributor must, in addition to the other meter testing provisions in this Code of Practice, establish and maintain a sampling plan to ensure that each meter family is tested in the field at least once during the initial life of the meter family and at least once in each subsequent year;

- the sampling plan must provide that meters be tested at both 20% and 100% of the badge capacity of the meters;

- upon request by the Commission, the distributor is required to provide the test results for both 20% and 100% for that meter family; and

- if the test results do not satisfy:

  - the maximum allowable error limits for the badge capacity of the meters at both 20% and 100% as set out in Schedule 2, Part 2 of this Code of Practice; and

  - such other requirements of the sampling plan

then the distributor must replace or recalibrate all metering installations in that meter family.

    - If the accuracy of a metering installation does not comply with the requirements of this Code of Practice or if a distributor becomes aware of any matter which could affect the integrity of the metering data, the distributor must, at the cost of the distributor:

- notify the affected parties as soon as practicable;

- arrange for the accuracy of the metering installation to be restored or for the metering installation to be replaced by such time as the affected party may reasonably determine so that the metering installation meets the requirements of this Code of Practice; and

- use substitute readings in accordance with the relevant Wholesale Market Metering Procedures until the restoration or replacement of the metering installation in accordance with clause 3.7.7(b).

    - A distributor must place a label on any meter and corrector that has been subject to an acceptance test and found to pass the test. The label must include a distinguishing mark and the year of test attached to indicate that it has passed the test.

    - If a meter or corrector has not been tested or has been found not to pass an acceptance test, the distributor must ensure that it is not labelled.

    - A distributor must provide an interval metering installation where:

- at any time, the withdrawal of gas at the distribution delivery point has exceeded 10,000 GJ for any consecutive 12-month period; or

- in respect of a new distribution delivery point, the withdrawal of gas at the distribution delivery point is likely to be more than 10,000 GJ for any consecutive 12-month period commencing during the immediately following 12-month period.

# Connections and augmentation

### New connections

    - On request from a customer, a distributor must connect the customer’s gas installation to the distributor’s distribution system if:

- the gas installation at the supply address complies with regulatory requirements;

- the connection is technically feasible and consistent with the safe and reliable operation of the distribution system and the safe and reliable supply of gas to customers;

- the connection involves minimal or no extension to, or augmentation of, any distribution pipeline of the distribution system;

- the customer agrees to pay any applicable connection charge; and

- the customer provides to the distributor upon request of the distributor a notice of installation or completion of gas installation work given by a gas installer in accordance with the relevant regulatory requirements.

    - A distributor is not required to energise a new connection unless a request to energise the new connection is submitted by a retailer, or the distributor is otherwise satisfied that:

- the customer has a relevant contract with a retailer in relation to the premises; or

- the customer has a contract with the distributor for the haulage of gas.

    - Subject to clause 4.1.1, a distributor must use its best endeavours to connect a customer’s gas installation to the distributor’s distribution system:

      - at a supply address previously supplied to by the distributor within one business day or within a period agreed with the customer; or

      - at a new supply address in the period agreed with the customer or, where no period is agreed, within 20 business days of the request.

    - Upon being requested by a customer to do so, and subject to any applicable connection charge, a distributor must make a connection alteration within a reasonable time.

    - If a customer requests a distributor to provide the customer, the customer’s representative or the customer’s gas installer with information on the distributor’s requirements for any proposed new gas installation or proposed connection alteration, the distributor must do so within 10 business days of the request. The information must be provided free of charge and in writing if so requested.

    - If required by a distributor, a customer must provide estimated gas load information for its proposed use at the proposed supply address.

### Connection charges

    - From 1 October 2024 until 1 January 2025, the connection charge to be paid by a customer for a connection service (if any) must be determined in accordance with clauses 2 to 5 of the Schedule 2 Guidance.

    - For the purposes of clause 4.2.1, the italicised terms in clauses 2 to 5 of the Schedule 2 Guidance have the definitions given to them in this Code of Practice.

    - For connection applications made from 1 January 2025, the connection charge to be paid by a customer for a connection service must be the sum of:

- the cost of purchasing and installing the dedicated facilities to that customer; and

- the cost of augmentation of the shared distribution system which may be required to support the additional load resulting from the connection service.

    - For the purposes of clause 4.2.3, costs must be calculated in a fair and reasonable manner and to the extent practicable using the following assumptions:

- the cost of purchasing and installing the dedicated facilities are the direct costs forecast to be incurred to purchase and install mains extensions, service pipes and a metering installation;

- the cost of augmentation of the shared distribution system are the direct costs forecast to be incurred to purchase and install any upstream facilities.

    - Subject to clauses 4.2.3 and 4.2.4, a distributor:

- must calculate standard connection charges to provide basic connection services for residential customers;

- may calculate standard connection charges to provide connection services (other than a basic connection service) for a particular class of customers;

- must quote connection charges individually for connection services which have no standard connection charges.

    - Different sets of standard connection charges may be calculated under clause 4.2.5 for different classes of connection services or different classes of customers.

### Provision of information

    - A distributor must publish on its website:

- a description of how an application for a new connection or connection alteration is to be made (including a statement of the information required for a connection application);

- a description of the distributor’s connection services and an explanation of the connection applicant’s rights and obligations;

- the timeframes for connecting a customer’s gas installation specified in clause 4.1.3; and

- the basis and assumptions for calculating connection charges, and any standard charges calculated according to clauses 4.2.5 and 4.2.6.

    - From 1 January 2025, where requested by a customer, quotes for connection services must be itemised to include at a minimum the following information:

- meter type and cost;

- mains extension and service pipes cost;

- any other incidental costs; and

- any upstream augmentation works and associated costs.

### Augmentation

    - If a distributor is required to recover the costs of augmentation from a customer under clause 4.2.3(b), the distributor must invite at least two other persons who compete in performing works of that kind (or who are capable of competing) to provide:

- information about their availability to perform the works; and

- information as to the price of the works, and any terms and conditions which may apply.

    - For the purposes of clause 4.4.1, a distributor may call for tenders in advance of the services being required and provide the person to whom the offer is made with contact details and prices of services of persons who have participated in the tender process.

    - Clause 4.4.1 does not apply:

      - if, despite the distributor’s best endeavours, it is not able to identify two other persons who compete in performing works of that kind (or who are capable of competing);

      - to the extent that the augmentation involves services that cannot be safely and/or lawfully carried out by a third party; or

      - if the person to whom the offer is made agrees with or instructs the distributor, in writing, that no tenders should be called for.

# Interruption

### Interruption

A distributor may curtail or interrupt the delivery of gas to a distribution delivery point to the extent, and for such period of time, as the distributor considers necessary:

- if there is material damage to, or a need to repair, that part of the distribution system used to deliver gas at the distribution delivery point;

- if a force majeure event occurs which affects the distributor’s ability to deliver gas at the distribution delivery point;

- in the event of or likelihood of an emergency;

- subject to clause 5.2, for a health or safety reason;

- if work under a planned maintenance or augmentation program is undertaken, and at least 10 days written notice has been given to the user under clause 5.6; and

- under contractual interruption arrangements agreed between a retailer and a customer, or a distributor and a user.

### Notice of health or safety interruption

Except in the case of an emergency, or where relevant regulatory requirements require it, a distributor must not interrupt or curtail a customer’s supply address for a health or safety reason unless the distributor has:

- given the customer written notice of the reason for the interruption or curtailment;

- given the customer five business days (after the date of receipt of the notice given under clause 5.2(a) to rectify the reason; and

- at the expiration of the five business days, given the customer by way of a written interruption warning, a further five business days notice of its intention to interrupt or curtail the customer’s supply address (counted from the date of receipt of this disconnection warning under clause 5.2(c)).

### Unplanned interruptions

In the case of an unplanned interruption, a distributor must make available a 24-hour telephone number to enable customers to ascertain details about the unplanned interruption, including the expected duration of the interruption.

### Right to information by a customer

A distributor must, at the request of a customer, provide an explanation for any interruption to supply to the customer’s supply address and, if the customer requests that the explanation be in writing, it must be given in writing within 20 business days of the request.

### Minimisation of interruption

A distributor must use best endeavours to minimise the duration of an interruption to supply referred to in clause 5.1(a)-(e) and must restore supply as soon as practicable.

### Interruption procedures

    - A distributor must give affected parties 10 business days prior notice of any planned maintenance testing or repair which will require interruptions to the delivery of gas at one or more distribution delivery points.

    - A distributor must use best endeavours to promptly notify affected parties of any unplanned interruptions to the delivery of gas at one or more distribution delivery points.

### Residual retailer obligations

    - A retailer must notify the affected parties of its contractual arrangements with a customer relating to interruptions within 21 business days of entering into such arrangements.

    - A retailer must give affected parties seven days prior notice of any planned maintenance testing or repair which will require interruptions to the delivery of gas at one or more distribution delivery point of a customer and must liaise with customers and use best endeavours to accommodate their needs.

    - If a distributor notifies a retailer of any interruption to delivery of gas at a distribution delivery point, then the retailer must use best endeavours to ensure that its customers comply with any reasonable requirement set out in the notice.

# Disconnection, reconnection and abolishment

### Disconnection

    - A distributor may disconnect a customer from its distribution system:

- subject to clause 6.1.2, at the direction in writing of a retailer;

- where the customer requests the distributor to disconnect the customer;

- where the distributor is directed to do so under the Gas Safety Act 1997;

- if a customer is obtaining or has obtained supply of gas at a supply address other than in accordance with this Code of Practice or any other regulatory requirement; or

- if the distributor considers it necessary to disconnect the customer:

  - if there is material damage to, or a need to repair, that part of the distribution system used to deliver gas at the distribution delivery point to that customer;

  - if a force majeure event occurs which affects the distributor’s ability to deliver gas at the distribution delivery point;

  - in the event of or likelihood of an emergency;

  - subject to clause 6.1.3, for a health or safety reason;

  - subject to clause 6.1.4, because planned maintenance or augmentation work is being undertaken; or

  - under contractual interruption arrangements agreed between a distributor and a user, or agreed between a retailer and a customer.

    - Where a retailer directs a distributor to disconnect a customer pursuant to clause 6.1.1(a), the distributor must not disconnect the customer unless the retailer provides confirmation in writing that it is entitled to disconnect the customer under the Act, the Energy Retail Code of Practice, or the applicable contract with the customer.

    - A distributor must not disconnect a customer, where it considers it necessary to do so for a health or safety reason, unless the distributor has:

- given the customer written notice of the reason for the disconnection;

- allowed the customer five business days to rectify the reason (the five business days must be counted from the date of receipt of the notice given under clause 6.1.3(a); and

- at the expiration of those five business days, given to the customer, by way of a written disconnection warning, a further five business days’ notice of its intention to disconnect the customer (the five business days must be counted from the date of receipt of this disconnection warning under clause 6.1.3(c)).

    - Where a distributor considers it necessary to disconnect a customer for planned maintenance testing or repair that will require disconnection to the delivery of gas at one or more distribution delivery points, the distributor must give affected parties 10 business days prior notice.

    - A distributor may, before disconnecting a customer as directed by a retailer in accordance with clause 6.1.1(a), require the retailer, in consideration of the distributor disconnecting the customer, to indemnify and keep indemnified the distributor from and against any loss, liability, damage, claim, action, proceeding, cost and expense suffered or incurred by or made or brought against the distributor in consequence of the disconnection of the customer from its distribution system.

### Abolishment

    - A distributor must abolish a small customer’s connection to its distribution system:

- at the written direction of a retailer; or

- where the distributor is directed to do so under the Gas Safety Act 1997.

    - Where a retailer directs a distributor to abolish a customer’s connection pursuant to clause 6.2.1(a), the distributor must use its best endeavours to abolish the customer’s connection within 20 business days of receiving the direction to do so.

### Reconnection

    - Subject to clause 6.3.3, a distributor must reconnect a disconnected customer where the circumstances giving rise to the disconnection in accordance with clause Error! Reference source not found.6.1 no longer apply.

    - A distributor is entitled to require the customer to pay any applicable reconnection charge, except in circumstances where the disconnection has occurred outside the customer’s control.

    - Any reconnection under clause 6.3.1 must be completed within sufficient time for a retailer to meet its contractual obligations to the customer as set out in the Energy Retail Code of Practice.

### Provision of information on disconnection and abolishment

    - A distributor must publish on its website information on:

- the different forms of cessation of supply (disconnection and abolishment), including a description of what each involves, procedures and timeframes;

- applicable charges for residential customers for disconnection, abolishment and reconnection;

- the circumstances in which a distributor initiated or a customer initiated disconnection may happen and in which abolishment is required; and

- the rights of customers seeking a disconnection, reconnection, or an abolishment of a customer’s connection to a distribution system.

    - A distributor must publish on its website information on the number of abolishments completed each regulatory year, including:

- the total number of abolishments completed by the distributor in the last regulatory year; and

- the number of abolishments completed in the last regulatory year for each postcode served by the distributor.

    - A distributor must update the information required by clause 6.4.2 no later than 60 days after the end of each regulatory year.

    - The information published under clauses 6.4.1 and 6.4.2 must:

- be expressed in clear, simple and concise language;

- be in a format that:

  - makes it easy for a small customer to understand and access; and

  - enables a small customer to obtain the information relevant to their postcode.

    - If a customer requests information of the kind required to be published in accordance with clause 6.4.1, a distributor must either:

      - refer the customer to the distributor's website; or

- provide the information to the customer.

# Life support equipment

### Requirement

A distributor is required to perform its obligations under this clause 7 in a way that promotes the objective of this clause.

### Objective

The objective of this clause 7 is to ensure that persons who require life support equipment receive the full protections of the life support provisions from when they first advise their retailer or distributor that the premises require life support equipment. These protections apply until the premises are validly deregistered.

### Registration of life support equipment

- Deleted

- Deleted

- Deleted

  - Deleted

  - Deleted

  - Deleted

  - Deleted

  - Deleted

  - Deleted

  - Deleted

  - Deleted

  - Deleted

- Within one business day after being advised by a small customer that a life support resident resides, or is intending to reside, at the small customer’s premises, a distributor must notify the retailer that a person residing or intending to reside at the small customer’s premises requires life support equipment and the date from which the life support equipment is required.

### Distributor obligations when advised by retailer

Within one business day after being advised by a retailer, under section 48DI(4), 48DK(2) and 48DL(5), of the Act or clause 165(1)(d) of the Energy Retail Code of Practice, that a life support resident resides, or is intending to reside, at the small customer’s premises, a distributor must record in a register of life support customers and residents the life support customer details provided by the retailer to the distributor.

### Deleted

### Deleted

    - Deleted

- Deleted

- Deleted

- Deleted

- Deleted

- Deleted

    - Deleted

- Deleted

- Deleted

- Deleted

- Deleted

  - Deleted

  - Deleted

  - Deleted

  - Deleted

### Ongoing distributor obligations

    - Where a distributor is required to register a customer’s supply address in a register of life support customers and residents, the distributor has the following ongoing obligations:

- if the small customer contacts the distributor to provide updated life support customer details or details of any secondary contact person, inform the small customer that it is necessary for the small customer to provide that information to the retailer for the register of life support customers and residents to be updated;

- within one business day after being advised by a retailer that the retailer has updated or included new information on its register of life support customers and residents, make the same update to, or include the new information in, the distributor’s register of life support customers and residents

- except in the case of an interruption, not disconnect the supply address after the date the life support equipment will be required at the supply address;

- in the case of an interruption that is a planned interruption, comply with clause 5.6; and

- if the small customer contacts the distributor to advise that life support equipment is no longer required at the premises, the distributor must inform the small customer that for the premises to be deregistered the small customer must advise the retailer that the life support equipment is no longer required at the premises.

7.7.2.	Deleted

### Deregistration of life support customer

    - A distributor must not deregister a small customer except in the circumstances required under clauses 7.8 to 7.12.

    - Deleted

- Deleted

- Deleted

    - If a distributor is notified by a retailer that the retailer has deregistered a small customer’s supply address under the Energy Retail Code of Practice, the distributor must (within one business day from notification) deregister that customer’s supply address.

### Cessation of distributor obligations after deregistration

A distributor’s obligations under clause 7.7 cease to apply in respect of a customer once that customer is validly deregistered.

### Deleted

    - Deleted

- Deleted

- Deleted

  - Deleted

  - Deleted

  - Deleted

- Deleted

- Deleted

    - Deleted

- Deleted

- Deleted

- Deleted

- Deleted

    - Deleted

### Deleted

### Deleted

    - Deleted

- Deleted

  - Deleted

  - Deleted

  - Deleted

  - Deleted

- Deleted

    - Deleted

### Registration and deregistration details must be maintained and kept up to date by distributors

A distributor must:

- establish policies, systems and procedures, to facilitate compliance with the requirements in this clause 7, including for registering and deregistering life support customers and updating and including new information in the register of life support customers and residents based on information provided by retailers; and

- ensure that the register of life support customers and residents is maintained and kept up to date based on information provided by retailers, including:

  - the date when the small customer requires supply of energy at the supply address for the purposes of the life support equipment;

  - when medical confirmation was received by the retailer from the small customer in respect of the premises;

(iia)	whether the life support resident has a life-threatening condition;

(iib)	the life support equipment used by the life support resident;

(iic)	contact details and communication preferences of the customer and any secondary contact person; and

- the date when the small customer is deregistered.

- Deleted

# Customer prohibitions and obligations

### Customer prohibitions

A customer must use best endeavours to not:

- allow gas supplied by a distributor to the customer’s supply address to be used at another supply address;

- take at the customer’s supply address gas supplied to another supply address;

- supply gas to any other person unless permitted by regulatory requirements or agreed by a distributor;

- tamper with, or permit tampering with, the meter or associated equipment;

- bypass, or allow gas supplied to the supply address to bypass, the meter;

- allow gas supplied under a residential tariff to be used for non-residential purposes other than home offices;

- allow gas supplied under a specific purpose tariff to be used for another purpose;

- allow a person, other than a person who is (to the best of the customer’s knowledge) a gas installer, to perform any work on the gas installation;

- use the gas supply in a manner that may:

  - interfere with a distributor’s distribution system or with supply to any other gas installation; or

  - cause damage or interference to any third party; or

- interfere, or knowingly allow interference, with a distributor’s distribution system or any metering equipment at the supply address, except as permitted by law.

### Customer obligations

A customer must use best endeavours to:

- provide a distributor and its equipment safe, convenient and unhindered access to the customer’s supply address for:

  - connection or disconnection of supply;

  - inspection or testing of gas installations or metering installations;

  - undertaking inspection, repairs, testing or maintenance of a distribution system; and

  - collection of metering data,

in accordance with the provisions of this Code of Practice;

- maintain the gas installation at the customer’s supply address in a safe condition;

- protect a distributor’s equipment at the customer’s supply address from damage and interference;

- inform a distributor as soon as possible if there is any:

  - change to the major gas usage purpose of the customer’s supply address;

  - change affecting access to metering equipment;

  - change to the quality or safety of the supply of gas to the customer or any other person; or

  - gas leak or other problem with a distributor’s distribution system.

- take reasonable precautions to minimise the risk of loss or damage to any equipment, premises or business of the customer which may result from poor quality or reliability of gas supply.

# Non-compliance by distributors and customers

### Distributor’s obligation to remedy and report

    - If a distributor breaches this Code of Practice, it must remedy that breach as soon as practicable.

    - Where a breach of this Code of Practice by a distributor is found to be caused by a customer not complying with the Code of Practice, the distributor is deemed to have complied with the Code of Practice unless the distributor does not act in accordance with clause 9.3.2 to seek the customer’s compliance.

    - A distributor must report to the Commission any breach or potential breach of the obligations identified in Schedule 3, Part 1, in the manner, form and time specified in the schedule.

    - A distributor must provide to the Commission performance indicator reports identified in Schedule 3, Part 2, in the manner, form and time specified in the schedule.

### Notification to customers

If a distributor becomes aware of its failure to comply with any obligation under this Code of Practice, which can reasonably be expected to have a material adverse impact on a customer, it must:

- notify each customer likely to be adversely affected by the non-compliance within 5 business days;

- undertake an investigation of the non-compliance as soon as practicable but in any event within 20 business days; and

- advise the customer of the steps it is taking to comply.

### Non-compliance by customers

    - A customer is deemed to comply with an obligation under this Code of Practice unless the customer is expressly informed of the non-compliance or otherwise becomes aware of the non-compliance or could reasonably have been expected to be aware of the non-compliance.

    - If a distributor becomes aware of a breach of this Code of Practice by a customer, which is not of a trivial nature, the distributor must notify the customer, in writing and as far as possible using plain English, of:

- details of the non-compliance and its implications, including any impact on the distributor and other customers;

- actions that the customer could take to remedy the non-compliance;

- a reasonable time period in which compliance must be demonstrated;

- any consequences of non-compliance; and

- the distributor’s procedure for handling complaints.

    - A customer must use best endeavours to remedy any non-compliance with this Code of Practice within the time period specified in any notice of non-compliance sent by a distributor in accordance with clause 9.3.2.

### Tenants’ obligations

    - Where a residential customer has been advised of non-compliance with this Code of Practice in accordance with clause 9.3.2 and is unable to remedy the non-compliance because they are not the owner of the premises where the distribution delivery point is located, the residential customer must notify the owner or other person responsible for the premises to fulfil the obligation.

    - On request, the residential customer must provide a distributor with evidence that they have notified the owner, or other person responsible, of the non-compliance and of the requirement to comply with this Code of Practice.

# Customer complaint handling

    - A distributor must handle a complaint by a customer in accordance with Australian Standard AS ISO 10002-2018 (Quality Management – Customer satisfaction – Guidelines for complaints handling in organisations) as amended from time to time.

    - A distributor must include information on its complaint handling processes on the distributor’s website.

    - When a distributor responds to a customer’s complaint, the distributor must inform the customer in writing that:

- the customer has a right to raise the complaint to a higher level within the distributor's management structure; and

- if, after raising the complaint to a higher level the customer is still not satisfied with the distributor's response, the customer has a right to refer the complaint to the energy ombudsman, or other relevant external dispute resolution body.

    - A distributor must include the contact details for the energy ombudsman on any notice issued by the distributor to a customer related to a disconnection or an abolishment.

# Notification of change of gas type

### Distributor notice to small customers of change of gas type

    - Subject to clause 11.1.4, a distributor must notify a small customer in writing prior to a change of gas type in a distribution system to which that customer’s premises are connected, in accordance with clauses 11.1.2 and 11.1.3.

    - A notice under clause 11.1.1 must:

- be in clear, simple and concise language;

- include:

  - the transition date; and

  - the type of gas that may be supplied through the distribution system on and from the transition date; and

  - whether the change of gas type is for a fixed time period or on an ongoing basis and, if the change of gas type is for a fixed time period, the last day of that period; and

  - if the type of gas that may be supplied through the distribution system is a gas blend, the primary gases that are blended together to make the gas blend; and

  - the potential impact of the change of gas type on the volume of gas and the heating value of gas consumed by customers whose premises are connected to the distribution system, compared to the type of gas supplied to the customer immediately prior to the transition date; and

  - the contact details of the distributor; and

- be provided to the small customer prior to the transition date; and

- be provided in the form and manner required by a Commission guideline (if any) made in relation to the form and content of notices required under clause 11.1.1.

    - For the purposes of sub-clause 11.1.2(b)(v), if the type of gas that may be supplied on and from the transition date is a gas blend, the potential impact on the volume of gas consumed and the heating value of that gas may be expressed as a range.

    - A distributor is not required to provide a notice under clause 11.1.1 if the change of gas type for the relevant distribution system is a change from:

- natural gas to biomethane or from natural gas to a gas blend comprised only of natural gas and biomethane; or

- biomethane or a gas blend comprised only of natural gas and biomethane to natural gas.

### Publication of information on gas type

    - A distributor must publish on its website:

- information on the type of gas that may be supplied through a distribution system; and

- if there is a change to the type of gas that may be supplied through a distribution system, the transition date.

    - The information published under clause 11.2.1 must:

- be expressed in clear, simple and concise language;

- be in a format that:

  - makes it easy for a small customer to understand and access; and

  - enables a small customer to obtain the information relevant to their premises using the postcode or the address of their premises; and

- be kept up to date.

# Regulatory reviews

### Appointment of reviewer

    - Upon direction by the Commission, a distributor must nominate an independent reviewer to be approved by the Commission to conduct reviews of:

      - the distributor’s compliance with its obligations under its distribution licence, a Code of Practice or the Act;

      - the reliability and quality of information reported by distributor to the Commission and the consistency of that information with the Commission’s specification; and

      - any other matter as directed by the Commission.

    - Following a direction pursuant to clause 12.1.1, a distributor must:

      - obtain the Commission’s approval of the independent reviewer and the scope, timing and methodology of the review; and

      - upon obtaining the Commission’s approval, promptly appoint the independent reviewer to conduct the review.

    - A distributor must ensure that the Commission is promptly provided with a copy of any report produced by the independent reviewer in the course of a review to be used by the Commission in any manner consistent with its objectives.

    - A distributor must require the independent reviewer to comply, with any guidelines issued by the Commission dealing with reviews.

# Other matters

### Distributors permitted to subcontract functions

A distributor may contract with another person to perform the distributor’s functions under this Code of Practice, but in doing so, the distributor remains responsible for ensuring that those functions are performed in a compliant manner.

### Adjustment of network charges

    - A distributor is not permitted to recover charges from a retailer if the retailer is not permitted to recover those charges from a small customer under the Energy Retail Code of Practice.

    - Clause 13.2.1 does not apply where the reason the retailer is not permitted to recover charges is the result of a fault of the retailer.

### Costs of inspection and testing

The cost of inspecting and testing metering installations or connections are to be borne by a distributor, unless the inspection reveals that the customer is in breach of a regulatory requirement, in which case the customer will be responsible for the reasonable costs of the inspection.

# Schedule 1: Civil Penalty Requirements

The following provisions of this Code of Practice are specified civil penalty requirements for the purpose of the Essential Services Commission Act 2001.

Clauses specified as civil penalty requirements

| Part 3 – Operation of a distribution system | 3.1; 3.2.2; 3.3; 3.4.1; 3.4.6; 3.4.7; 3.4.9; 3.5.1; 3.5.2; 3.5.4; 3.7.1; 3.7.2; 3.7.3; 3.7.4; 3.7.5; 3.7.6(b); 3.7.6(c); 3.7.6(d); 3.7.6.(e); 3.7.6(f); 3.7.7; 3.7.8; 3.7.9; 3.7.10. |
| --- | --- |
| Part 4 – Connections and augmentation | 4.1.1; 4.1.3; 4.1.4; 4.1.5; 4.2.1; 4.2.3; 4.2.5(a); 4.2.5(c); 4.3.1; 4.3.2; 4.4.1 |
| Part 5 – Interruption | 5.1(a); 5.1(b); 5.1(c); 5.1(d); 5.1(e); 5.1(f); 5.2: 5.3; 5.4; 5.5; 5.6.1; 5.6.2; 5.7.1; 5.7.2; 5.7.3 |
| Part 6 – Disconnection, reconnection and abolishment | 6.1.1(a); 6.1.1(b); 6.1.1(c); 6.1.1(d); 6.1.1(e); 6.1.2; 6.1.3; 6.1.4; 6.2.1; 6.2.2; 6.3.1; 6.3.3; 6.4.1; 6.4.2; 6.4.3; 6.4.4; 6.4.5 |
| Part 7 – Life support equipment | 7.3(d); 7.4; 7.7.1; 7.8.1; 7.8.3; 7.13 |
| Part 9 – Non-compliance by distributors and customers | 9.1.1; 9.1.3; 9.1.4; 9.2; 9.3.2 |
| Part 10 – Customer complaint handling | 10.1.1; 10.1.2; 10.1.3; 10.1.4 |
| Part 11 – Notification of change of gas type | 11.1.1; 11.1.2; 11.2.1; 11.2.2 |
| Part 12 – Regulatory reviews | 12.1.1; 12.1.2; 12.1.3; 12.1.4 |
| Part 13 – Other matters | 13.2.1; 13.3 |

# Schedule 1A: Application to exempt distributors

1. The following provisions of this Code of Practice apply to an exempt distributor:

Clauses applicable to exempt distributors

| Part 3 – Operation of a distribution system | 3.1. |
| --- | --- |
| Part 4 – Connections and augmentation | 4.1.1; 4.1.2; 4.1.3; 4.1.4; 4.1.5; 4.1.6; 4.2.1; 4.2.2; 4.2.3; 4.2.4; 4.3.1; 4.3.2. |
| Part 5 – Interruption | 5.1, 5.2, 5.3, 5.4, 5.5, 5.6. |
| Part 6 – Disconnection, reconnection and abolishment | 6.1.1; 6.1.2; 6.1.3; 6.1.4; 6.1.5; 6.3.1; 6.3.2; 6.3.3; 6.4.1, 6.4.4, 6.4.5. |
| Part 7 – Life support equipment | 7.3(d); 7.4(a)-(b); 7.7.1; 7.8.1; 7.8.3; 7.9; 7.13 |
| Part 9 – Non-compliance by distributors and customers | 9.1.1; 9.1.2; 9.2. |
| Part 10 – Customer complaint handling | 10.1.1; 10.1.2; 10.1.3; 10.1.4. |
| Part 13 – Other matters | 13.1; 13.2; 13.3. |

2. For the purposes of this Schedule 1A:

(a) 	A reference to distributor in this Code of Practice is to be taken to be a reference to an exempt distributor.

(b) 	A reference to a distribution pipeline, distribution system, or shared distribution system in this Code of Practice is taken to be a reference to the embedded network.

(c) 	A reference to a distribution delivery point, transfer point or receipt point in the Code of Practice is taken to be a reference to a ‘child connection point’ as defined in the Gas Embedded Networks General Exemption Order.

(d) 	A reference to a metering installation in this Code of Practice is taken to be a reference to a metering installation as defined in the Gas Embedded Networks General Exemption Order.

(e) 	For the avoidance of doubt, clauses 6.4.1, 6.4.4 and 6.4.5 of this Code of Practice apply to an exempt distributor in respect of abolishments of child connection points in their embedded network, and are in addition to the requirements in clause 9 of the Gas Embedded Networks General Exemption Order.

# Schedule 2: Operational matters

### Part 1: Distribution system pressure

A distributor must use best endeavours to maintain sufficient distribution system pressures to ensure the minimum pressure is maintained at the distribution delivery point. The typical indicative daily pressure for each category of distribution system is as follows:

| Distribution System | Distribution System Pressure (kPa gauge) |  |  |
| --- | --- | --- | --- |
| Category | Maximum | Minimum at distribution delivery point |  |
|  |  | Fringe Point # | Outlet of Meter * |
| Low Pressure | 7 | 1.4 | 1.1 |
| Medium Pressure | 20-210 | 15 | 1.1 |
| High Pressure 1 | 515 | 140 | 1.1 |
| High Pressure 2 | 1050 | 600 | 1.1 |
| Transmission Pressure | Maximum allowable operating pressure under the Pipeline Licence | On application | 1.1 |

* Or other such value where a higher supply pressure has been agreed.

# Network operators may use lower distribution system pressures during periods of low demand (e.g. overnight) to minimise unaccounted for gas and where the operator can demonstrate that quality and reliability of supply can be maintained at those pressures.

### Part 2: Maximum allowable error limits

- The maximum allowable variance (error units) in quantity from the agreed true quantity for gas meters must be:

  - not more than 2 per cent in favour of the distributor;

  - not more than 3 per cent in favour of the customer.

- The maximum allowable error limit range for correctors must be ±1 % in addition to the error limits outlined in 1.1(a) and 1.1(b) above.

- Except where provided for in a sampling plan approved by the Commission, the error limit range of meters and correctors must be established under standard conditions at (1) 20% and (2) 100% of the badge capacity of the meter, by a testing agency approved by the Commission.

- The testing procedures for gas meters and correctors must have an uncertainty limit of no more than 1%.

### Part 3: Unaccounted for gas

Each of the unaccounted for gas benchmark values set out in the tables below is specific to a single DUAFG period. Where a calendar year comprises two DUAFG periods, the quantity of unaccounted for gas for each of those DUAFG periods must be assessed against the unaccounted for gas benchmark applicable in that DUAFG period.

Unaccounted for gas benchmarks – effective from and including 1 July 2023 to 30 June 2028

Declared Transmission System (DTS) distribution systems

| Distributor | Class A supply point benchmarks >= 250,000 GJ/pa | Class B supply point benchmarks < 250,000 GJ/pa |
| --- | --- | --- |
|  | 1 July 2023 – 30 June 2028 | 1 July 2023 – 30 June 2028 |
| Australian Gas Networks (Victoria) | 0.003 | 0.0406 |
| Australian Gas Networks (Albury) | 0.001 | 0.0406 |
| Multinet | 0.003 | 0.0549 |
| AusNet Services | 0.003 | 0.0460 |

Non-DTS distribution systems – Combined Class A and Class B benchmarks

| Distributor | 1 July 2023 – 30 June 2028 |
| --- | --- |
| Australian Gas Networks | 0.020 |
| Multinet | 0.020 |
| AusNet Services | 0.049 |

### Part 4: Guaranteed Service Levels

| Area of service | Threshold to incur GSL paymenta | GSL payment amount |
| --- | --- | --- |
| Appointmentsb | Failure to attend appointment within agreed appointment window: Customer present – 2 hours Customer absent – agreed date | $50 per event |
| Connectionsc | Failure to connect a customer within 1 day of agreed date. | $80 per day (subject to a maximum of $240) |
| Repeat interruptionsd | Unplanned interruptions to a customer in a regulatory year period resulting from faults in the distribution system: Upon fifth interruption Upon tenth interruption | $150 additional $150 |
| Lengthy interruptionse | Gas supply interruption to a customer not restored: within 12 hours within 18 hours | $150 additional $150 |

a GSL scheme applies to tariff V customers only.

b An appointment window of two hours applies if the customer is required or requests to be present. A one-day appointment window applies if the customer is not required or does not request to be present. Appointments rescheduled by a distributor are counted as missed appointments. Appointments rescheduled at the request of the customer are excluded from payments.

c Excluding if a distributor is unable to gain access to the installation site.

d Excluding force majeure, faults in gas installations, transmission faults, upstream events and third-party events.

e Excluding force majeure, faults in gas installations, transmission faults, upstream events and third-party events impacting large diameter mains affecting more than 50 customers. Large diameter mains are high pressure mains of nominal diameter 100mm or greater, and medium pressure or low-pressure mains of nominal diameter 150mm or greater.

# Schedule 3: Gas distributor reporting obligations and performance indicators

### Part 1: Distributor reporting obligations

- This Part sets out gas distributor compliance reporting obligations, as summarised in Table 1 below.

Table 1: Summary of distributor reporting obligations

| Reporting obligation | Frequency | Timing |
| --- | --- | --- |
| Type 1 breaches | As required | Within two business days of detection. |
| Type 2 breaches | As required | Within 30 calendar days of detection. |
| Material breaches | As required | As soon as practicable. |
| Annual report | Annually | For the period 1 July to 30 June – on or before 31 August each year. |

- Under the breach classification tables in Tables 2 and 3 below, regulatory obligations are classified as type 1 or type 2.

- All actual and potential breaches of type 1 obligations as prescribed in Table 2 must be reported to the commission within two business days of detection.

- If a licensee submits an incomplete report because the investigation is ongoing, the licensee must provide a complete report within 20 business days from the date it was originally reported to the commission.

- All actual and potential breaches of type 2 obligations as prescribed in Table 3 must be reported to the commission within 30 calendar days of detection.

- A breach is detected where a licensee has reasonable grounds to believe a reportable situation has arisen. That is, a licensee knows of facts or has sufficient evidence to consider that a breach has occurred.

Table 2: Type 1 breaches – gas distributors

| Gas Distribution Code of Practice |  |
| --- | --- |
| Part 7 – Life support equipment | 7.3; 7.4; 7.7.1; 7.8.1; 7.13 |

Table 3: Type 2 breaches – gas distributors

| Gas Distribution Code of Practice |  |
| --- | --- |
| Part 3 – Operation of a distribution system | 3.2.2; 3.7.1; 3.7.2; 3.7.3; 3.7.4; 3.7.5(a); 3.7.5(c); 3.7.5(d); 3.7.6(b); 3.7.6(c); 3.7.6(d); 3.7.6(f); 3.7.7; 3.7.8; 3.7.9; 3.7.10. |
| Part 4 – Connections and augmentation | 4.2.1; 4.2.3 |
| Part 5 – Interruption | 5.6.1 |
| Part 6 – Disconnection, reconnection and abolishment | 6.1.1; 6.1.2; 6.1.3; 6.1.4; 6.2.1; 6.2.2; 6.3.1; 6.3.3 |
| Part 7 – Life support equipment | 7.8.3; |
| Gas Industry Act 2001 |  |
| Sections 33(2); 33(3); 229A(1); 229A(2) |  |

Material adverse breach

- A distributor must report potential breaches of any other regulatory obligation, including licence conditions, that may give rise to a material adverse impact on consumers or the Victorian energy market as soon as practicable. The reporting obligation arises when a distributor has reasonable grounds to believe that a potential breach may have occurred and may have a material adverse impact on consumers or the market. A distributor should not wait until confirmation of either the breach or the materiality of harm before reporting the matter to the commission.

Annual report

- A summary of all type 1 and 2 breaches and any other breaches identified during the period must be submitted annually.

- These reports must be signed by the CEO or Managing Director of the distributor.

- A distributor will need to submit a nil compliance report in instances where the distributor has no breaches to report for a relevant annual reporting period.

Form and content of breach reports

- All breach reports must be made using the relevant distributor compliance reporting template located on our website. All breach reports must be submitted via the Retailer Distributor Portal.0F

### Part 2: Distributor performance indicators

- This Part sets out a gas distributor’s performance reporting obligations (as summarised in Table 1 below).

Table 1: Summary of distributor performance indicators

| Reporting obligation | Frequency | Timing |
| --- | --- | --- |
| Guaranteed service level data | Annual | - For financial years from 2023-24 onwards – on or before 30 November following the end of that financial year. |
| Unaccounted for gas (UAFG) data | Annual | - For financial years from 2023-24 onwards – on or before 30 November following the end of that financial year. |
| Abolishments data | Annual | - For financial years from 2023-24 onwards – on or before 30 November following the end of that financial year. |

Form and content of performance reports

- Performance indicator reports must be submitted using the relevant template located on our website, as amended from time to time. Files should be named according to the following conventions:

- for GSL data, [Distributor]_GSL_DATA_[FinYear].csv

- for UAFG data, [Distributor]_UAFG_[DTS/NON-DTS]_DATA_[FinYear].csv

- for Abolishments data, [Distributor]_Gas_Abolishment_DATA_[FinYear].csv

- All submissions of performance data must be submitted via the Retailer Distributor Portal.1F

- Where a distributor has no relevant performance data to report for a relevant period the distributor is required to submit the applicable template. The template should note that the distributor has no performance data to report for the relevant period.

Guaranteed Service Level data

A gas distributor must provide the commission with the Guaranteed Service Level data on an annual basis, following completion of a financial year by 30 November of that year. This obligation commences at the end of the 2023-24 financial year. The first report is due by 30 November 2024 for the financial year 2023-24.

| Ref. | Indicators | Distributors are required to report the following data |
| --- | --- | --- |
| GSL01 | Distributor name | The name of the distributor. |
| GSL02 | Year | The financial year of the reporting period (e.g. 2023-24). |
| GSL03 | GSL category | This field is pre-defined with the applicable guaranteed service level categories (appointments, connections, repeat interruptions and lengthy interruptions). |
| GSL04 | GSL measures | This field is pre-defined with the specific guaranteed service levels measures for each category. |
| GSL05 | GSL value | The total number of guaranteed service level payments made for each measure in the financial year. |
| GLS06 | GSL amount | The total dollar amount of guaranteed service level payments made for each measure in the financial year. |

Unaccounted for gas (UAFG) data

A gas distributor must provide the commission with the unaccounted for gas (UAFG) data for the previous five years on an annual basis, following completion of a financial year by 30 November of that year. This obligation commences at the end of the 2023-24 financial year. The first report is due by 30 November 2024 for data for the calendar years 2019-23. The data to be provided must indicate whether the data has been settled between the distributor and retailers. Where settled data is not available, a distributor must provide the most recently available unsettled data for each of the previous five years, using estimates based on actual available data at the time of reporting.

| Ref. | Indicators | Distributors are required to report the following data |
| --- | --- | --- |
| UAG01 | Distributor name | The name of the distributor. |
| UAG02 | Distributors network | Name of the distribution system (DTS or Non-DTS). |
| UAG03 | Year | Each year of the five previous calendar years of the reporting period (e.g. 2019, 2020, 2021, 2022 and 2023). From 2023-24 onwards, the financial year of the reporting period (e.g. 2023-24). |
| UAG04 | Total injections (GJ) | The total injections in GJ through transfer points or receipt points. |
| UAG05 | Class A UAFG (GJ) | Actual UAFG in GJ for Class A supply points. |
| UAG06 | Class B UAFG (GJ) | Actual UAFG in GJ for Class B supply points. |
| UAG07 | % Class A UAFG | Percentage of UAFG for Class A supply points. |
| UAG08 | % Class B UAFG | Percentage of UAFG for Class B supply points. |
| UAG09 | Total withdrawals (GJ) | The total withdrawals through transfer points or receipt points. |
| UAG10 | Class A withdrawals (GJ) | The total Class A gas customers withdrawals (GJ). |
| UAG11 | Class B withdrawals – D customers (GJ) | The total Class B – Tariff D gas customers withdrawals (GJ). |
| UAG12 | Class B withdrawals – V customers (GJ) | The total Class B – Tariff V gas customers withdrawals (GJ). |
| UAG13 | Reconciliation amounts received/ (paid) $000 | The financial reconciliation amounts the distributor either received or paid to a retailer. |

Abolishments data

A gas distributor must provide the commission with the abolishments data on an annual basis, following completion of a financial year by 30 November of that year. This obligation commences at the end of the 2023-24 financial year. The first report is due by 30 November 2024 for the financial year 2023-24.

| Ref. | Indicators | Distributors are required to report the following data |
| --- | --- | --- |
| ABS01 | Distributor name | The name of the distributor. |
| ABS02 | Year | The financial year of the reporting period (e.g. 2023-24). |
| ABS03 | Postcode | This field indicates the postcode where the MIRN is located. |
| ABS04 | Total MIRNs | Total number of Meter Installation Registration Numbers (MIRN) existing at the beginning of the financial year of the reporting period in the postcode. |
| ABS05 | Abolishments per postcode | Total number of abolishments completed by the end of the financial year of the reporting period in the postcode. |

# Schedule 4: Transitional Arrangements

- A life support customer that, prior to 1 December 2027, was registered and had provided medical confirmation in a form valid at the time they provided the medical confirmation is deemed to have provided medical confirmation for the purposes of this Code.

The Retailer Distributor Portal is maintained by the commission and is the information gateway between licensees and the commission. Available here: https://crisprdp.powerappsportals.com/SignIn?ReturnUrl=%2F

The Retailer Distributor Portal is maintained by the commission and is the information gateway between licensees and the commission. Available here: https://crisprdp.powerappsportals.com/SignIn?ReturnUrl=%2F