## xReferences (hidden)
Reference Water heater energy consumption | [6 empty] | New or Revision | System Type | Collector Type | In-series Boost Type | Peak winter hot water energy load modelled | AS/NZS 4234 version | Application to
AS/NZS4234 version | Load size | Reference water heater fuel | Lookup reference | Climate zone 3 | Climate zone 4 | Climate zone 5 | NEW | Thermosiphon with in-tank boost | Flat plate | Instantaneous | Small | 2008 | ESS (D21)
2021 | Small | Gas | 2021SmallGas | 14604 | 16033 | 16390 | REV | Thermosiphon with in-line boost | Evacuated tube | Storage | Medium | 2021 | VEU (1F & 3B)
| Small | Electric | 2021SmallElectric | 9235 | 10224 | 10337 |  | Pumped in-tank boost | Other |  |  |  | both ESS (D21) and VEU (1F & 3B)
| Medium | Gas | 2021MediumGas | 20717 | 22635 | 23009 |  | Pumped in-line boost
| Medium | Electric | 2021MediumElectric | 15229 | 16611 | 16784
2008 | Small | Gas | 2008SmallGas | 16410 | 17930 | 18360
|  | Electric | 2008SmallElectric | 9270 | 10280 | 10400
| Medium | Gas | 2008MediumGas | 22690 | 24720 | 25140
|  | Electric | 2008MediumElectric | 15260 | 16670 | 16850
Note: This sheet contains reference data for lookup lists. Do not delete or modify.

## Input data
Gas Solar Water Heater Application Form
V 2.2 - 6 September 2022
Data input required for blank cells in blue
Use drop-down lists where applicable. Do not modify any formulae. Applications containing data which does not comply with the standard options/calculations will be invalid.
[7 empty] | Climate Zone 3 | [8 empty] | Climate Zone 4
Register of product reference | Brand name | Model number | Is this a new model number (N) to be listed, or revision to an existing model number (R)? |  | System type | AS/NZS 4234 version | TRNSYS input file | TRNSYS output file | Zone HP3-Au product delivery size | Energy consumption conventional water heater (GJ/a) | Annual purchased energy used for supplementary heating [Bs] (GJ/a) | Annual purchased electrical energy used by auxiliary equipment [Be] (GJ/a) | Annual purchased energy savings (GJ/a) | Annual purchased energy savings (%) | Minimum delivery temperature zone 3 | TRNSYS input file | TRNSYS output file | Zone HP4-Au product delivery size | Energy consumption conventional water heater (GJ/a) | Annual purchased energy used for supplementary heating [Bs] (GJ/a) | Annual purchased electrical energy used by auxiliary equipment [Be] (GJ/a) | Annual purchased energy savings (GJ/a) | Annual purchased energy savings (%) | Minimum delivery temperature zone 4 | Number of hot water tanks | Hot water tank model number | Tank volume (L) | Solar collector model number | Number of solar collectors | Type of solar collector | Total aperture area of collectors (m2) | Booster tank model number | Number of booster tanks | Booster tank volume (L) | Type of booster | In-series (in line) heater model number | Pumped system flow rate (L/min) | Date certified to AS2712 | Schematic of system | Collector performance test report | Tank heat loss test report | Gas heater efficiency test report | Who conducted modelling | Date of modelling | STCs Zone 3 | STCs Zone 4 | Date STCs eligible from | STC model name | Frost protection method | Warranty period
- ESS (D21); - VEU (1F & 3B); or - both ESS (D21) and VEU (1F & 3B) |  | Product name or reference, as per AS2712 certification | NEW or REV | If REV, key modifications to system from previous modelling | 1. Thermosiphon with in-tank boost 2. Thermosiphon with in-line boost 3. Pumped in-tank boost 4. Pumped in-line boost | 1. 2008 2. 2021 | File name - Note naming convention: Brandname_modelnumber_ESC.DCK, and if appropriate, Brandname_modelnumber_ESC.IAM | File name - Note naming convention: Brandname_modelnumber_ESC.lst and Brandname_modelnumber_ESC.out | Small or Medium | (a) | gas (b) Zone 3 | Including energy used for circulator pump, controller etc. (c) Zone 3 | (d) d = a - b - c | (Relative Solar Fraction) =(d) / (a) | ºC | File name - Note naming convention: Brandname_modelnumber_ESC.DCK, and if appropriate, Brandname_modelnumber_ESC.IAM | File name - Note naming convention: Brandname_modelnumber_ESC.lst and Brandname_modelnumber_ESC.out | Small or Medium | (a) | gas (b) Zone 4 | Including energy used for circulator pump, controller etc. (c) Zone 4 | (d) d = a - b - c | (Relative Solar Fraction) =(d) / (a) | ºC | [5 empty] | 1. Flat plate 2. Evacuated tube 3. Other | Total area of collector (aperture indicated in collector test report x number of collectors) | For two tank systems only (i.e. a preheater and a storage downstream boost) |  |  | 1. Instantaneous 2. Storage |  | Determined by physical test (Note test result to be supplied) | e.g.: 19/02/2021 | File name - Note naming convention: Brandname_ModelNo_schematic.pdf | File name - Note naming convention: Brandname_CollectorModelNo_2535.pdf | File name - Note naming convention: Brandname_TankModelNo_4692.pdf | For gas boosted Solar only File name - Note naming convention: Brandname_ModelNo_4552.pdf |  |  | As per Clean Energy Regulator assessments |  |  | Product name as registered with the Clean Energy Regulator (and brand, if different to this application) |  | Collector (years) | Tank (years) | Inline Gas Booster (years) | Circulating pump (years) | Controller (years)
[10 empty] | #N/A |  |  | #N/A | #N/A |  |  |  |  | #N/A |  |  | #N/A | #N/A
[10 empty] | #N/A |  |  | #N/A | #N/A |  |  |  |  | #N/A |  |  | #N/A | #N/A
[10 empty] | #N/A |  |  | #N/A | #N/A |  |  |  |  | #N/A |  |  | #N/A | #N/A
[10 empty] | #N/A |  |  | #N/A | #N/A |  |  |  |  | #N/A |  |  | #N/A | #N/A
[10 empty] | #N/A |  |  | #N/A | #N/A |  |  |  |  | #N/A |  |  | #N/A | #N/A
[10 empty] | #N/A |  |  | #N/A | #N/A |  |  |  |  | #N/A |  |  | #N/A | #N/A
[10 empty] | #N/A |  |  | #N/A | #N/A |  |  |  |  | #N/A |  |  | #N/A | #N/A
[10 empty] | #N/A |  |  | #N/A | #N/A |  |  |  |  | #N/A |  |  | #N/A | #N/A

## Version Control
Document version control
The RM reference for this document is: C/22/9383
Version | Amendments made | Date published
1.0 | First release under the 2018 VEET Regulations | 10 December 2018
1.1 | 1) Amendments for the introduction of new VEU requirements from 10 June 2019: - insertion of new data fields for performance results in "Zone HP5-Au" (1D heat pumps only) 2) Removal of data field <Annual purchased energy used for supplementary heating in peak period (GJ/a)> | 10 June 2019
1.2 | Removed columns relevant to Heat Pumps | 2020-03-04
1.3 | Lock columns V, Y, Z, AC, AF and AG. Also shade those columns | 2020-04-28
2.0 | Updated to include product applications for New South Wales ESS scheme and separation into different forms for eSHW and gSHW | 2022-04-01
2.1 | Corrected menu option, removing ESS D20 | 2022-04-01
2.2 | Adjusted to allow 8 products per application (was 3) | 2022-09-06