## References (hidden)
| New or Revision | System Type | Collector Type | In-series Boost Type | Supplementary Power Supply | Peak winter hot water energy load modelled | Boost Control Regime | VEET register reference
| New | Thermosiphon with in-tank boost | flat plate | Instantaneous | Gas | 25.2 | C | 1C. Electric boosted solar water heater
| Revision | Thermosiphon with in-line boost | evacuated tube - heat pipe | Storage | Gas (LPG) | 42 | OP1 | 1D. Heat pump water heater
|  | Pumped in-tank boost | evacuated tube - u-tube |  | Gas post heater |  | TC | 1F & 3B. Gas or LPG boosted solar water heater
|  | Pumped in-line boost | evacuated tube - water in glass |  | Cont. elect. |  | OS
|  | Heat pump | unglazed |  | Off peak elect.
|  | Preheater | evacuated tube - water in glass (integral to tank')
|  | Retrofit-kit | other
Note: This sheet contains reference data for lookup lists. Do not delete or modify.

## Rebate amounts (estimated) (hidden)
Metro, replacing electric |  | lookup_type | lookup_size | lookup_ref | 60 <= n < 65 | 65 <= n < 70 | 70 <= n < 75 | n >= 75
Electric | small | 1 | 1 | 11 | 600 | 600 | 700 | 800
Electric | medium | 1 | 2 | 12 | 600 | 800 | 1000 | 1000
Heat Pump | small | 8 | 1 | 81 | 300 | 400 | 500 | 500
Heat Pump | medium | 8 | 2 | 82 | 300 | 400 | 500 | 500
Retrofit | small | 7 | 1 | 71 | 900 | 900 | 1000 | 1100
Retrofit | medium | 7 | 2 | 72 | 1100 | 1300 | 1500 | 1500
Pre-heater | small | 6 | 1 | 61 | 0 | 0 | 0 | 0
Pre-heater | medium | 6 | 2 | 62 | 0 | 0 | 0 | 0
Gas | small | 2 | 1 | 21 | 600 | 600 | 800 | 1000
Gas | medium | 2 | 2 | 22 | 600 | 600 | 800 | 1000
Metro, replacing gas |  | lookup_type | lookup_size | lookup_ref | 60 <= n < 65 | 65 <= n < 70 | 70 <= n < 75 | n >= 75
Electric | small | 1 | 1 | 11 | 0 | 0 | 0 | 0
Electric | medium | 1 | 2 | 12 | 0 | 0 | 0 | 0
Heat Pump | small | 8 | 1 | 81 | 0 | 0 | 0 | 0
Heat Pump | medium | 8 | 2 | 82 | 0 | 0 | 0 | 0
Retrofit | small | 7 | 1 | 71 | 0 | 0 | 0 | 0
Retrofit | medium | 7 | 2 | 72 | 0 | 0 | 0 | 0
Pre-heater | small | 6 | 1 | 61 | 900 | 900 | 1000 | 1100
Pre-heater | medium | 6 | 2 | 62 | 1100 | 1100 | 1300 | 1500
Gas | small | 2 | 1 | 21 | 900 | 900 | 1000 | 1100
Gas | medium | 2 | 2 | 22 | 1100 | 1100 | 1300 | 1500
Regional, replacing electric |  | lookup_type | lookup_size | lookup_ref | 60 <= n < 65 | 65 <= n < 70 | 70 <= n < 75 | n >= 75
Electric | small | 1 | 1 | 11 | 1000 | 1000 | 1100 | 1200
Electric | medium | 1 | 2 | 12 | 1200 | 1300 | 1400 | 1400
Heat Pump | small | 8 | 1 | 81 | 400 | 600 | 800 | 800
Heat Pump | medium | 8 | 2 | 82 | 400 | 600 | 800 | 800
Retrofit | small | 7 | 1 | 71 | 900 | 900 | 1000 | 1100
Retrofit | medium | 7 | 2 | 72 | 1100 | 1300 | 1500 | 1500
Pre-heater | small | 6 | 1 | 61 | 0 | 0 | 0 | 0
Pre-heater | medium | 6 | 2 | 62 | 0 | 0 | 0 | 0
Gas | small | 2 | 1 | 21 | 1300 | 1300 | 1400 | 1500
Gas | medium | 2 | 2 | 22 | 1300 | 1300 | 1400 | 1500
Regional, replacing gas |  | lookup_type | lookup_size | lookup_ref | 60 <= n < 65 | 65 <= n < 70 | 70 <= n < 75 | n >= 75
Electric | small | 1 | 1 | 11 | 0 | 0 | 0 | 0
Electric | medium | 1 | 2 | 12 | 0 | 0 | 0 | 0
Heat Pump | small | 8 | 1 | 81 | 0 | 0 | 0 | 0
Heat Pump | medium | 8 | 2 | 82 | 0 | 0 | 0 | 0
Retrofit | small | 7 | 1 | 71 | 0 | 0 | 0 | 0
Retrofit | medium | 7 | 2 | 72 | 0 | 0 | 0 | 0
Pre-heater | small | 6 | 1 | 61 | 1300 | 1300 | 1400 | 1500
Pre-heater | medium | 6 | 2 | 62 | 1400 | 1400 | 1500 | 1600
Gas | small | 2 | 1 | 21 | 1300 | 1300 | 1400 | 1500
Gas | medium | 2 | 2 | 22 | 1400 | 1400 | 1500 | 1600

## Version history (hidden)
v2.1.2012001031106
Various
v2.1.2012001061325
Changed rebate amounts for Retrofit systems replacing gas (metro and regional) to $0
v2.1.201201241336
Fixed an error in the rebate value formulae whi referenced the wrong "lookup type" and "lookup size"
v2.1.201202140935
Changed column headers to clarify "in-line" tank refers to booster tank and "in series heater" refers to instantaneous booster
v2.2.201203061436
Added columns for providing filenames for schematic and bill of materials
v2.2.201204201543
Changed column subtitles for test reports from "Certificate no." to "Refernce no."
v3.0.0
Transition to ESC

## input data
Solar and Heat Pump Water Heater Application Form
V 1.0 - 10 December 2018
Data input required for blank cells in blue
Use drop-down lists where applicable. Do not modify any formulae. Applications containing data which does not comply with the standard options/calculations will be invalid.
OLD SWH rebate info
Register of product reference | Brand name | Model number | Is this a new model number (N) to be listed, or revision to an existing model number (R)? |  | Date certified to AS2712 | System type | Hot water tank model number | Number of hot water tanks | Tank capacity (L) | Solar collector model number | Number of solar collectors | Type of solar collector | Total aperture area of collectors (m^2) | Booster tank model number | Number of booster tanks | Booster tank capacity (L) | Type of booster | In-series (in line) heater model number | Pumped system flow rate (L/min) | Supplementary energy supply | Peak winter hot water energy load modelled (MJ/day) | Schematic of system | Collector/heat pump performance test | Tank heat loss test | Gas heater efficiency test | Control regime | TRNSYS input file | TRNSYS output file | Energy consumption conventional water heater (GJ/a) | Annual purchased energy used for supplementary heating [Bs] (GJ/a) | Annual purchased energy used for supplementary heating in peak period (GJ/a) | Annual purchased electrical energy used by auxiliary equipment [Be] (GJ/a) | Annual purchased energy savings (GJ/a) | Annual purchased energy savings (%) | Who conducted modelling | Date of modelling | Minimum delivery temperature | STCs Zone 3 | STCs Zone 4 | Date STCs eligible from | STC model name | Frost protection method | Warranty period |  |  |  |  | Lookup type | Lookup size | Rebate Metro | Rebate Metro | Rebate Regional | Rebate Regional | Warranty Period | Ref Sys 1994 | Annual Purchased Energy Savings (GJ/a) 1994 | Annual Purchased Energy Savings (%) 1994 | Ref Sys 2008 | Annual Purchased Energy Savings (GJ/a) 2008 | Annual Purchased Energy Savings (%) 2008
1C. Electric boosted solar water heater 1D. heat pump water heater 1F & 3B. Gas or LPG boosted solar water heater |  | Product name or reference, as per AS2712 certification | NEW or REV | Key modifications to system from previous modelling | e.g.: 19/02/2009 | 1. Thermosiphon with in-tank boost 2. Thermosiphon with in-line boost 3. Pumped in-tank boost 4. Pumped in-line boost 5. Heat pump | [5 empty] | 1. Flat plate 2. Evacuated tube 3. Other | Total area of collector (aperture indicated in collector test report x number of collectors) | For two tank systems only (i.e. a preheater and a storage downstream boost) |  |  | 1. Instantaneous 2. Storage |  | Determined by physical test (Note test result to be supplied) | 1. Gas 2. Gas (LPG) 3. Gas post heater 4. Cont. Elect. 5. Off peak Elect. |  | File name - Note naming convention: Brandname_ModelNo_schematic.pdf | File name - Note naming convention: Brandname_CollectorModelNo_2535.pdf OR Brandname_HeatPumpModelNo_5125.pdf | File name - Note naming convention: Brandname_TankModelNo_4692.pdf | File name - Note naming convention: Brandname_ModelNo_4552.pdf | 1. Continuous (C ) 2. Off-Peak 1 (OP1) 3. Time Controlled (TC) 4. One-Shot (OS) | File name - Note naming convention: Brandname_modelnumber_ESC.DCK, and if appropriate, Brandname_modelnumber_ESC.IAM | File name - Note naming convention: Brandname_modelnumber_ESC.lst and Brandname_modelnumber_ESC.out | (a) | (Including Compressor for Heat Pump) (b) | For off-peak electric boost only | Including energy used for circulator pump, controller etc. (c) Zone 4 | (d) d = a - b - c | (Relative Solar Fraction) =(d) / (a) |  |  | ºC | As per Clean Energy Regulator assessments |  |  | Product name as registered with the Clean Energy Regulator (and brand, if different to this application) |  | Collector (Compressor for heat pump) (years) | Tank (years) | Inline Gas Booster (Condenser if heat pump) (years) | Circulating pump (years) | Controller (years) | 1 = elec 2 = gas 6 = preheater 7 = retrofit 8 = heatpump | 1 = small 2 = medium | Replacing Electric (estimate) | Replacing Gas (estimate) | Replacing Electric (estimate) | Replacing Gas (estimate)
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
for additional models, copy and insert the whole of the above row(s) | [28 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!
[29 empty] | 0 |  |  |  | 0 | 0% | [13 empty] | N/A | N/A | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | #DIV/0!

## Compatibility Report (hidden)
Compatibility Report for List of SHW Models v22a.xls
Run on 27/11/2013 15:58
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when opening this workbook in an earlier version of Excel or if you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences | Version
One or more cells in this workbook contain data validation rules which refer to values on other worksheets. These data validation rules will not be saved. | 1
| input data'!B8:B107 | Excel 97-2003
Minor loss of fidelity
Some formulas in this workbook are linked to other workbooks that are closed. When these formulas are recalculated in earlier versions of Excel without opening the linked workbooks, characters beyond the 255-character limit cannot be returned. | 14 Defined Names | Excel 97-2003
Some cells or styles in this workbook contain formatting that is not supported by the selected file format. These formats will be converted to the closest format available. | 31 | Excel 97-2003

## Sheet1
Document version control
The RM reference for this document is: C/18/29676
Version | Amendments made | Date published
1.0 | First release under the 2018 VEET Regulations | 10 December 2018